| 29 Aug 2018 |  |
| --- | --- |
| Pulse 71 | New CTD has batteries but not installed. This week Crissy to look into it. Email wish list to everyone |
| Lasers | Meeting with Dan next Thursday at ten am. Went well, is motivated |
| Tripod scale | Figured dimensions and where to put it. Spring motor? |
| Upside down sediment trap | Nixed in proposal. Can we make one with extra funds? |
| Beacons | Don’t work when wet. Have we made progress? |
| Optodes | Crissy to find and test cable |
| Tripods | Need to find different USB-ethernet because we had problems with the old one. Check Sept 19 |
| Rover | Need to change camera (corroded cable swap) with chamber camera. Worth changing camera. They get serviced and cleaned. Now both have LED that are less bright. Want to change because they will clean the inside of the lens when sent in to be serviced. Swap ten pin connector stbd rack motor. |
| Wave Glider | Next during cruise |
| Batteries for October | Work request for Thom to check the batteries |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Open House lessons learned | Get new pool- Who will get this? Layout was good Get new big monitor- BIG screen |
| Manuscripts | Results getting updated Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. 30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists Ken- annotating near field and far field 67/68 Enteropneust draft- coming along |
| Deep Sea Bio | Talk: Alana Posters: Larissa, Crissy, Linda |
| Multibeam M | Next summer ? |
| Personnel schedules | Sept 9-13 (Alana, Crissy, Paul) Alana to sea on the 10th Crissy Sept 6-7 Johnny Dec. Possible last week in September Paul 29 Aug-4 Sept Ken never leaving office again Rich- Sept 7-13 |

Plot: GIS of all stuff on bottom-

Ordering:

Wish list

Seaconn connector for replacement of bad pin cable

CTD 8.3K

Ti seaconns