| 30 May 2018 |  |
| --- | --- |
| Pulse 71 | CTD Rosette again? |
| Lasers | Met with Dan, working on it. |
| Tripod scale | Got materials, will do mock up. Ti |
| Upside down sediment trap | Johnny looking at cup shape. Absorbent prices to 3D print it. |
| Event detection | Rich look into modems |
| CTD | Goldberg at Seabird- SBE37SMP has pump, recorder, can be set up to work at specific times, totally independent $8300 in titanium housings. Moos project has them. Rover has CTD so we can check that to see if temp has actually changed. Rover oxygen event. How long does it take to service |
| Optodes | Test new one in test tankwith new cable. Alana to give cable to Crissy |
| Castroville | Take cam sled apart, put in pallet and put on top of van Waiting for facilities to move cam sled here. Can improve external cabling. Test plan- run overnight. Same # pics, transfer files, put new batteries in |
| Wave Glider | Rover didn’t talk well with Wave Glider or ship. Conditions? Could range to modem. Very noisy. |
| Batteries for October | Check after meeting |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| VIPER | Waiting to hear next Wed |
| Manuscripts | Surface to sea floor Martin curve Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. |
| 2019 Proposal | Machine learning and image analysis- Rich New ducer/modems Downward looking sediment traps Smarten the SES |
| Deep Sea Bio | Submitted: Alana, Larissa, Crissy |
| Open House | Puzzle Cornhole sediment toss, space invaders |
| Multibeam M | Next summer ? |
| Personnel schedules | Alana June 13-18 Paul June 2-20 UK Islands Rich June 18-21 Crissy out 15-1 Aug Ken- 28 June-2 July Johnny September |

Plot: GIS of all stuff on bottom-

Ordering:

Wish list

Seaconn connector for replacement of bad pin cable

CTD 8.3K

Ti seaconns