| 31 Jan 2018 |  |
| --- | --- |
| Lasers | Unboxing!! How to get precise angles? Make target, center aim, and then BOOM. That’s progress. |
| CTD | Goldberg at Seabird- SBE37SMP has pump, recorder, can be set up to work at specific times, totally independent $8300 in titanium housings. Moos project has them. Rover has CTD so we can check that to see if temp has actually changed. Rover oxygen event |
| Optodes | Send back one that leaked Do we still have 799? Ask about calibration. Calibrate more often Calibrate more often Update optode list- add deployments |
| SCOC | Crissy to incorporate into dataset, Paul to email Optode SN to crissy to ceck cal salinity |
| Dec Cruise | Rich is away the last week of October (29-Thanksgiving). Grech said best for Ken to talk to Barry. |
| Castroville | Take cam sled apart, put in pallet and put on top of van Would Francois want the benthos pop up bucket buoys (x3). Waiting for facilities to move cam sled here. |
| Wave Glider | Three times a year. Don’t need a week of science on checkup weeks. |
| SES | It has been shortened, release dealt with, lengthened. Mechanically finished. 600 m line mount needed. Board has a slot for a full size SD card. Add fluorescence target to carousel? Minimal impact on energy budget and data table. |
| Camera tripod | When plugged into anywhere USB, still powered on, but couldn’t open from EOS utility. EOS utility couldn’t see but Windows explorer could load drive/talk/transfer files. But sometimes when plug in doesn’t show up in file explorer. Firing up on bench, at first did not get sensor cleaning mech. But did work on restart. Try new computer with newest EOS utility. So far can’t replicate problem.Problem 1) Doesn’t boot up 2) If it’s on and running…problem in progress Combination of things going wrong (EOS utility, Anywhere USB) Routines will take record of pic taken: time, strobe ad batter voltages before and after. |
| Rover | Insight will upgrade camera and clean window for free Clean window, replace o-rings LF modem head- get an oil filled if we get another one. Troubleshoot corrosion Release parts DONE. Paul sent our requirements to Electrochem and am waiting for a response. They may send us to an outside battery assembly house for such small quantities Turnover in Spring? Bad pin for rack |
| Project update | Feb 26. Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Manuscripts | Oceanography is press Surface to sea floor in review |
| Open House | July 21st |
| Multibeam M | This summer end of summer |
| Personnel schedules | Ken out 17th, out 2-3 weeks Rich will be out April 9 - 12, the entire week before we mobilize for the April 18-24 cruise. Crissy out 15-31 July |

Ordering:

Wish list

Seaconn connector for replacement of bad pin cable

CTD 8.3K

Figure out what cable needs to be replaced

Ti seaconns

Anywhere USB