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	Pulse 71
	Current meter did not go on. Remove battery, use as spare for Rover. 

	Pulse 71
	Hardware matters in buoyancy calculations
Paul to oversee battery being taken out of spare current meter
Send out email about blue deck box

	Lasers
	Squares done and printed on metal. Bay photo new customer discount!
Lasers on sea floor in front of tripod

	Pulse 71 ADCP
	All set, procedures (double check), it’s running. How do we download without corrupting? ADCP Roberto – Crissy to email 

	Tripod scale
	Not enough time to get this ready. Put it off.

	SES
	CLEAN VIEW! Paul- revisit
Pre-dive checklist to clean slide, camera, etc. Find way to clean it

	Upside down sediment trap
	Cup design

	Beacons
	Put some back down, brought some back- Paul to lead the charge

	Optodes
	Tested and in grab A. New optodes didn’t respond to changing conditions
Test in lab and possibly send back. What cable to use? Old test cable was lemo.

	Pulse 71 Tripods
	[bookmark: _GoBack]Go on diet. Carbon fibre. Solo tripod uses old Dell new laptop uses new EOS. Keep it that way until we replace the Mark I

	Bad release 
	Take out battery and get RMA

	Rover
	Port chamber camera swapped out. Send back the one for servicing
Swapped cable on stbd rack motor

	Wave Glider
	In a few months 

	Titanium hardware
	Johnny put in lab check drawers

	Pump in situ
	Hundreds of gallons in an hour. What does MBARI have? Johnny to look into it.

	Project update
	Worry after cruise
Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it.
Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover.
Show the science of how this fits into the bigger picture. Methods. Science, Future. 
Alana- big picture why is this scientifically important
Tech roadmap, strategic plan.
Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling
Next lab meeting have this thing flushed out.
Viper after SES from abstract presentation
End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly

	Open House lessons learned
	Get new pool- Remind in April
Layout was good
Get new big monitor- BIG screen

	Manuscripts
	PNAS in press
Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that.
30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists
Ken- annotating near field and far field 67/68
Enteropneust draft- coming along
Multibeam Kathy

	Personnel schedules
	Johnny taking time here and there this month, good chunk of Dec
Crissy 17-25 Dec
Ken 26 Dec-2 Jan



Plot: GIS of all stuff on bottom- 

Ordering:
Wish list
Seaconn connector for replacement of bad pin cable
Ti seaconns

