| 31 October 2018 |  |
| --- | --- |
| Pulse 71 | Current meter did not go on. Remove battery, use as spare for Rover. |
| Pulse 71 | Hardware matters in buoyancy calculations Paul to oversee battery being taken out of spare current meter Send out email about blue deck box |
| Lasers | Squares done and printed on metal. Bay photo new customer discount! Lasers on sea floor in front of tripod |
| Pulse 71 ADCP | All set, procedures (double check), it’s running. How do we download without corrupting? ADCP Roberto – Crissy to email |
| Tripod scale | Not enough time to get this ready. Put it off. |
| SES | CLEAN VIEW! Paul- revisit Pre-dive checklist to clean slide, camera, etc. Find way to clean it |
| Upside down sediment trap | Cup design |
| Beacons | Put some back down, brought some back- Paul to lead the charge |
| Optodes | Tested and in grab A. New optodes didn’t respond to changing conditions Test in lab and possibly send back. What cable to use? Old test cable was lemo. |
| Pulse 71 Tripods | Go on diet. Carbon fibre. Solo tripod uses old Dell new laptop uses new EOS. Keep it that way until we replace the Mark I |
| Bad release | Take out battery and get RMA |
| Rover | Port chamber camera swapped out. Send back the one for servicing Swapped cable on stbd rack motor |
| Wave Glider | In a few months |
| Titanium hardware | Johnny put in lab check drawers |
| Pump in situ | Hundreds of gallons in an hour. What does MBARI have? Johnny to look into it. |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | PNAS in press Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. 30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists Ken- annotating near field and far field 67/68 Enteropneust draft- coming along Multibeam Kathy |
| Personnel schedules | Johnny taking time here and there this month, good chunk of Dec Crissy 17-25 Dec Ken 26 Dec-2 Jan |

Plot: GIS of all stuff on bottom-

Ordering:

Wish list

Seaconn connector for replacement of bad pin cable

Ti seaconns