| 9 May 2018 |  |
| --- | --- |
| Pulse 71 | CTD Rosette again? |
| Lasers | Workin on it. Getting calibration images work with UW images captured. Dan is on it. Do it on elevator? |
| CTD | Goldberg at Seabird- SBE37SMP has pump, recorder, can be set up to work at specific times, totally independent $8300 in titanium housings. Moos project has them. Rover has CTD so we can check that to see if temp has actually changed. Rover oxygen event |
| Optodes | Test new one in test tankwith new cable. Alana to give cable to Crissy |
| October Cruise | 16-25 October. Add sizing reference to camera tripod?- Johnny burn wires, drop weights. Fiberglass crossmembers (T, H), graduated sticky tape with big numbers. One to drop down another to raise back up day later. Disturbs sediment first day. Must be flat on ground |
| Castroville | Take cam sled apart, put in pallet and put on top of van Would Francois want the benthos pop up bucket buoys (x3). Waiting for facilities to move cam sled here. Can improve external cabling. Test plan- run overnight. Same # pics, transfer files, put new batteries in, |
| Wave Glider | Rover didn’t talk well with Wave Glider or ship. Conditions? Could range to modem. Very noisy. |
| Camera tripod | Any $40 part needed?- 128 GB SD (SanDisk 128 GB) |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| VIPER? | Meeting tomorrow. Sink back to bottom |
| Manuscripts | Surface to sea floor Martin curve Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. |
| Audacious | Icebergs. AUVs, gliders (Spray, Wave) |
| 2019 Proposal | Machine learning and image analysis. New ducer |
| Deep Sea Bio | Submitted: Alana, Larissa, Crissy |
| Larissa’s MS | Submitted draft. Defense- 2 May |
| Open House | July 21st |
| Multibeam M | Next summer ? |
| Personnel schedules | Alana June 13-18 Paul June 2-19 UK Islands Ken 1st week in April Rich will be out April 9 – 12. June 18-21. Crissy out 15-31 July |

Plot: GIS of all stuff on bottom-

Ordering:

Wish list

Seaconn connector for replacement of bad pin cable

CTD 8.3K

Ti seaconns