| 15 May 2019 |  |
| --- | --- |
| Lasers | Going over Dan’s documentation written for other users. Making less progress. |
| Pulse 71 ADCP | Tom working on it- |
| Mooring failure | Sending swivels to Navy guy. Took batteries out of sediment trap controller. Take squirty off, set it aside for future use. Sent off swivels and shackles |
| Upside down sediment trap | Cups are in shipping |
| Larvae pump | Have screens. Paul ordered batteries |
| Freeze dryer | Need to recontact Labconco- May. Need gauge for vacuum |
| New LF modem for Rover | Stainless steel painted black. Or plastic? Connector is peak. Plate is PVC. Get black steel = painted black. Is it 316 SS? What flavour of stainless is it? |
| Macro system | Connector size is slightly different. Alana looked for right angle connector. Stainless connectors. Rubber molded. Unplugging cable while powered can fry it. It has a funky cable clamp to make sure this doesn’t happen Need to make new endcap. Alana to get connectors. Working on design this week |
| Sur Ridge input | 50 and 600 mab traps. Macro tests. Hope ready in Aug |
| Benthos deck box | Anyone want it |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | ROV volumes- Paul is working on it. ROV camera appears to be rotated. Add tripod and ROV volume measurement in methods Linda lat and long |
| Danielle | Data collection |
| 2020 proposal | Write into proposal- deploy SES at MARS, plug it in, talk to Wave Glider. Debug Rover and SES, test larval pump port fees. how long to leave it out? Macro camera to stay down longer- different battery, different (ti) frame Solo upgrade Two inverted sediment traps- titanium bars. Get rid of bridles and use new mount |
| SES | Crissy incorporating input |
| Ocean weather | Fred has been working on particle tracking. 100 particles/day on sea floor and run backwards. Assign sinking/floating speed Can know physoc history |
| Open House lessons learned | Not this year |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. Enteropneust draft- coming along Wave Glider |
| Personnel schedules | Ken- 7-12 June Rich- 28-31 May Rich 21-24 June Johnny- somewhere. Paul mid June to early July Ken 9-21 July Alana- July 29-Aug 6ish Crissy—13-18, 28 June 20 July Moon Landing open house |