| 10 July 2019 |  |
| --- | --- |
| Lasers | Bugs in code, but duane has cold. |
| Pulse 71 ADCP | Tom working on paper, will prob see at end of June. |
| Mooring failure | Got failed swivels back and given us the results. Throw out our stuff, known USA vendors ideally manufactured in China get FORGED ss. - Buy new swivels |
| Upside down sediment trap | Revised cup lid should be in the mail. |
| Larvae pump | Tesk-tank test went well. Currently pressure-testing oscillator/elmo. ~ Shann and Diana gave input on flow rate. One battery is enough for a few days, since we’ll end up going with a slower flow rate. |
| Freeze dryer | They have what they need. It’s in the works. Scheduling guy to come down and check it out. Johnny will check in. |
| New LF modem for Rover | Alana ordered |
| Wave glider | Chris configuring new one. Test MF and LF Monday, then send it. Paul gave Chris our new deck rope, baffle, filters and two ducers. |
| Macro system (aka shrimpoteuthis) | 11000 pics. ISO was set too short. Was black unless strobes were firing. No feedback like with other strobes. Won’t know until it’s fully running if the strobes will fire. Battery comes with four ft female cable. No purge port. Not getting lithium batteries. Alana’s court, new snappy boards have been delivered, need testing Talk to Paul, Change to easier to use menu? Engineering logging? |
| Sur Ridge input | 50 and 600 mab traps. Macro tests. Hope ready in Aug |
| Benthos deck box | Went to Mesobot team |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| 2020 proposal | Write into proposal- deploy SES at MARS, plug it in, talk to Wave Glider. Debug Rover and SES, test larval pump port fees. Mechanical upgrade and communications R& development optimization. how long to leave it out?. Add macro system and larval pumps to those days/tests Solo upgrade- camera, controller upgrate to snappy, get rid of old tattletale, get rid of 90degree bent cable Lots of hours for Larissa Requesting multiple flyer 2 flyer, Silicone was original rubber policeman, Johnny has 3 durometers, run it like crazy. Wear test. How can we see window on its own to see how clean it is? 200 h Monique for ocean weather Carbon pump visualization- bring up to KBB and Kakani give talk in Jan Feb Add brightness blank. Drop down to 60 min or less? New brush White rice silt- see if it scrapes off |
| SES | Crissy has all input and is making revisions. |
| Ocean weather | Need update from Henry. |
| Expenses | Mission critical only |
| Manuscripts | Enteropneust draft – Need update from Victoria |
| Personnel schedules | Ken: out for titanium upgrade Rich 24 June, July 1-8 Johnny- July 4th week Paul 29 June to 20 July Alana- July 29-Aug 6ish Crissy—25 June, take off a week some time late Aug or early Sept Norman here through Aug 10 April, Virginia here till Aug 16th |

Wave Glider – Next mission to Sta. M end of June or early July. Can carry both low and med freq modems, but don’t have an LF modem to test wg. MF ‘ducer on WG is omni, need directional. Need to borrow directional MF from Hans, but ‘ducer needs some mechanical work. Can’t run both CO2 sensor and LF modem, so we’ll pull the CO2 sensor. Possible flakey modem cable on WG because they’re having problems with DAT system deployed now.