| 11 December 2019 |  |
| --- | --- |
| Pulse 72 debrief | ADCP download data- remove battery- Do today All but SES images on pulse/project library Go through tool boxes Need to do a better job of cleaning isolator hardware How will macro fit into this cruise?Give Diana a chance to do a replicate? Prioritize |
| SES | Drilled out float bars so they will take the new shackles. Wakey. There’s a limit to how many times you can write to the flash 2 minute safety was in effect. Went through its scheduled 5000 sets. Will Rover has an issue with this? Not likely. John squeegies Found some compatible brushes Will go on to cable- check rover lab for connectors Code for wakey |
| Rover | SCOC insertion depths Chamber camera needs servicing- Remind in Jan Johnny made new pivot pins, getting shinnied and will be done soon |
| Tripod | Red tagged mark I camera. Put a mark I back in.- Xif in late dec to see if camera had been used before. Fresh coin cell in mark I but not dualie. Update technical orders. |
| Optodes | Recalibrate and swap out. Look for dip in rover reference during salp blooms Check offset between reference optode readings Rover |
| ADCP postmordem | Parback was extruded out the back, cement inside. Ordered pc card reader. But will it work without being read from the instrument? Make sure Johnny helps us service the next one. Servicing one at sea…will be tough but we can make it work. |
| Year end spending | Camera- mark iv? Connectors- Alana spending $2k on Ti connectors Spare for macro Anodes, chain isolators We have 1 spare release Optode USB isolators? ICD4? Recalibrate all optodes and swap out Check offset between reference optode readings Rover |
| Lasers | Dan came- recompile laser measure for matlab. He now has all the information and is processing info from the last dive. He wants to write a paper about it. 2 papers- one science one methods |
| Larvae pump | Elmo is dead. Paul and DJ working on sending it back. No extras. /Need to order 7 at a time and they’re $700-800 $600 for diagnosis and fix Leaking filteration Pretty sure motor controller is blown. All the bliss stuff is on pulse Check battery |
| Macro system (aka shrimpoteuthis) | Trying to calculate how to angle the camera. Johnny trimming frame. 50 mm lens, higher contrast. Cut housing in half Test in dark In 2020 Change to easier to use menu? Engineering logging? To measure angle off horizontal- ~30 degrees. Move to 45. Mount battery at mud level. 1 meter between strobes Deployment- how small can we make it? Too big to take down on ROV. Can’t go on elevator with larval pump No purge port, use alkalines for lasers Pressure test? Pump helium in to test weld? Playing with the angle |
| Solo camera height, angles | On hold |
| Olmo | Revising draft. Resolve field of view discrepancy . Paul working on it. |
| 30 year volume | 8 accepted out of 16 Rest are in various stages of revision |
| CTD | Return to Ussler |
| Lab cleanup | 18 Dec. |
| Personnel schedules | 19-23 Dec Crissy in PA Paul- dates 20 Dec – Jan 7th (Back on 8th) Alana gone most of Christmas and New Years Weeks Johnny taking off some time around Christmas Ken is out New Years eve Rich 23 Dec – Jan 2 |