| 13 Feb 2019 |  |
| --- | --- |
| Lasers | Dan’s making progress, need to reduce contrast of calibration grid. He’s going to show new algorithms |
| Pulse 71 ADCP | Tom Connelley has given us a preview of the data |
| SES | CLEAN VIEW! Paul- revisit Can’t find dimensions for squeegee slot but found the parts Larry made, will remake with silicone and replace yearly. |
| Upside down sediment trap | HDPE parts, still waiting for blow-molded piece, flexible and strong |
| Larvae pump | Diana from UCSC is applying for postdoc. Configuring stack, housing. Rich found EPOS library port to Arduino C Ask for a 6 day cruise in spring of 2020, testing for larval pump. $500-1000 for reconditioning. How many do we need? Paul running numbers for 20% succion. Consider SES controller as a 3rd candidate Still working on computer selection Johnny wants to get models from Marko and Dale |
| Optodes | Need to change salinity setting, but have info from Aanderaa about that. Do we have a test stack for Rover to test optodes on shore? Or use spare SES stack |
| Vacuum pump | Ask Craig Okuda |
| Pulse 71 Tripods | Solo needs to come home and update to snappy. |
| Backscatter data | See if we have everything- Crissy to work on |
| Macro system | Setting up for test Need to make new endcap. Check with Dave French to see if he has a spare housing we could use |
| Wave Glider | Going again in March. |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Plot with current meter data |
| Danielle | Data collection |
| Alana’s talk | Scripps April 11 |
| SES | Crissy generating plots |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. Ken- annotating near field and far field 67/68 Enteropneust draft- coming along Multibeam Kathy |
| Personnel schedules | Paul- Texas: 13-Feb-3rd March Johnny- Bali March 20- April 15 Ken July |

Upgrades to Windows 10 for lab computers.

Plot: GIS of all stuff on bottom-

Ordering:

Alana 1-2 K for tripod USB/Ethernet extenders/connectors

Johnny cups/couplers- ~15K

Crissy Release repair

Putting the A and U of any AUV