| 13 November 2019 |  |
| --- | --- |
| Pulse 72 debrief | ADCP download data- remove battery- Do today All but SES images on pulse/project library Go through tool boxes Need to do a better job of cleaning isolator hardware How will macro fit into this cruise?Give Diana a chance to do a replicate? Prioritize |
| SES | Wakey. There’s a limit to how many times you can write to the flash 2 minute safety was in effect. Went through its scheduled 5000 sets. Will Rover has an issue with this? Not likely. John squeegies Will go on to cable- check rover lab for connectors |
| Rover | SCOC insertion depths Chamber camera needs servicing- Remind in Jan |
| Tripod | Red tagged mark I camera. Put a mark I back in.- Xif in late dec to see if camera had been used before. Fresh coin cell in mark I but not dualie. Update technical orders. |
| Optodes | Recalibrate and swap out. Look for dip in rover reference during salp blooms Check offset between reference optode readings Rover |
| Year end spending | Camera Connectors- Alana spending $2k on Ti connectors Spare for macro Anodes, chain isolators We have 1 spare release Optode Recalibrate and swap out Check offset between reference optode readings Rover |
| Snappy delay | Doesn’t work…working to figure it out. Mark III and IV issue. |
| Lasers | Paul focusing on laser measure, writing code. Corrected images and digitized points, Dan will do parallel calcs. |
| Larvae pump | Power regulating chip on Pi is blown. Must have beena huge transient and need to better protect power supply. Check Elmo. Did it run at all? Yes- it got to position 1. Indexed but we don’t know how long it pumped, if at all. Leaking filteration Big resister on thruster bus. Shunt regulator. |
| Macro system (aka shrimpoteuthis) | 50 mm lens, higher contrast. Cut housing in half Will we have a pointer laser ready? Lid’s coming in the mail. Johnny working on endcap. Test in dark In 2020 Change to easier to use menu? Engineering logging? To measure angle off horizontal- ~30 degrees. Move to 45. Mount battery at mud level. 1 meter between strobes Deployment- how small can we make it? Too big to take down on ROV. Can’t go on elevator with larval pump No purge port, use alkalines for lasers Pressure test? Pump helium in to test weld? |
| Solo camera height, angles | Not coming back. New mooring line will go on Solo camera and two inverted traps. |
| 30 year volume | Tom Connoly publish data and analysis code in a public repository. 16 papers |
| Olmo | Revising draft. Resolve field of view discrepancy |
| Press | Ken’s podcast |
| CTD | Return to Ussler |
| Lab cleanup | 18 Dec |
| Personnel schedules | 19-23 Dec |