| 13 March 2019 |  |
| --- | --- |
| Lasers | Dan has made great progress. Show us he addressed inaccuracies Check about Larissa’s time – wait for window |
| Pulse 71 ADCP | Waiting to hear about next wed at 9 am |
| SES | Johnny got a bunch of different silicone sheets. Get an angled shear. Start with what we have out |
| Upside down sediment trap | Still waiting for parts. Solid bridles on bar? |
| Larvae pump | Flow meter in Paul’s hands. Need pinout and interface cable. Johnny and Dale setting it up in tank. Find self enumerating ports for USB raspberry pi |
| Optodes | All set up for Rover use. 10 s sample time. |
| Vacuum pump | Pain. (Chamber NFG?) |
| Pulse 71 Tripods | Solo needs to come home and update to snappy. No. Wait till it breaks. Break it then. |
| Backscatter data | See if we have everything- Crissy to work on after SES draft is done. |
| Macro system | Changed software, now triggering reliably, change to take pic every five min with new strobes. Need energy budget to decide in battery needs/housing size. Re-use battery can Deploy at Sur Ridge if possible to test. Need to make new endcap. |
| Wave Glider | Chris says will try tomorrow afternoon to talk to SES or Rover (whichever is closest). Looping cross on both targets and compare to circle data |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Paul has made progress on the total volume imaged by the tripod and the footprint (even though the footprint doesn’t exactly apply to Benthocodon). Need to cut to80% top of image |
| Danielle | Data collection |
| Alana’s talk | Scripps April 11 |
| SES | Send off end of tomorrow. |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Met with Chris on Monday and got screen shots of wave glider nav portal. It’s hot. Uses ODSS Paul- Benthocodon work can also go into his paper with Alana. Outline- yes. Ken- annotating near field and far field 67/68 Enteropneust draft- coming along Multibeam Kathy |
| Personnel schedules | Rich- 20-22 March Paul Jury duty Johnny- Bali March 19- April 15 Ken 9 July 2.5 weeks Alana- Wisconsin lakes |

Upgrades to Windows 10 for lab computers.

Plot: GIS of all stuff on bottom-

Ordering:

Alana 1-2 K for tripod USB/Ethernet extenders/connectors

Johnny cups/couplers- ~15K

Crissy Release repair

Putting the A and U of any AUV