| 20 March 2019 |  |
| --- | --- |
| Lasers | Dan has made great progress. NQR- tracking down user interface issues. Getting mm resolution. Need to go through ROV dive from last cruise (p71). Check about Larissa’s time – wait for window |
| Pulse 71 ADCP | Waiting to hear about next wed at 9 am |
| SES | Bring back next time. Get in October- Crissy to show attenuation crops to Paul. Crissy to open jpgs in Adobe Bridge to see image metadata file, to see if there’s an autowhite balance |
| Upside down sediment trap | Still waiting for parts. Solid bridles on bar? |
| Larvae pump | Flow meter from Andy – Johnny getting that set up. Need to run it. Bought material for frame. Same as Dale’s sled exept for no angles. Find self enumerating ports. Need something to test. |
| Vacuum pump | Spewed oil. Need to take apart chamber. |
| Backscatter data | See if we have everything- Crissy to work on after SES draft is done. |
| Macro system | New camera and snappy working. Firing CathX with strobes. Next going to test in a bucket of water. Need energy budget to decide in battery needs/housing size. Re-use battery can Deploy at Sur Ridge if possible to test. Need to make new endcap. Spare strobes lanternshark |
| Sur Ridge input | 50 and 600 mab traps. Macro tests |
| Wave Glider | Hasn’t yet found Rover. Check for SES. |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Plots, tables. Sample volume |
| Danielle | Data collection |
| Alana’s talk | Scripps April 11. Finding a lot of what is needed. |
| SES | Crissy incorporating input |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. Enteropneust draft- coming along |
| Personnel schedules | Rich- 20-22 March Johnny- Bali March 19- April 15 Ken 9 July 2.5 weeks Alana- Wisconsin lakes |