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	Lasers
	Dan has made great progress. NQR- tracking down user interface issues. Getting mm resolution.
Need to go through ROV dive from last cruise (p71). Check about Larissa’s time – wait for window

	Pulse 71 ADCP
	Waiting to hear about next wed at 9 am

	SES
	Bring back next time. Get in October- Crissy to show attenuation crops to Paul. Crissy to open jpgs in Adobe Bridge to see image metadata file, to see if there’s an autowhite balance

	Upside down sediment trap
	Still waiting for parts. Solid bridles on bar?

	Larvae pump
	Flow meter from Andy – Johnny getting that set up. Need to run it.
Bought material for frame. Same as Dale’s sled exept for no angles. 
Find self enumerating ports.
Need something to test. 

	Vacuum pump
	Spewed oil. Need to take apart chamber.

	Backscatter data
	See if we have everything- Crissy to work on after SES draft is done.


	Macro system
	New camera and snappy working. Firing CathX with strobes. Next going to test in a bucket of water.
Need energy budget to decide in battery needs/housing size. 
Re-use battery can 
Deploy at Sur Ridge if possible to test.
Need to make new endcap.
Spare strobes lanternshark

	Sur Ridge input
	50 and 600 mab traps. Macro tests

	Wave Glider
	Hasn’t yet found Rover. Check for SES. 

	Project update
	Worry after cruise
Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it.
Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover.
Show the science of how this fits into the bigger picture. Methods. Science, Future. 
Alana- big picture why is this scientifically important
Tech roadmap, strategic plan.
Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling
Next lab meeting have this thing flushed out.
Viper after SES from abstract presentation
End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly

	Benthocodon
	Plots, tables. Sample volume

	Danielle
	Data collection

	Alana’s talk
	Scripps April 11. Finding a lot of what is needed.

	SES
	Crissy incorporating input

	Open House lessons learned
	Get new pool- Remind in April
Layout was good
Get new big monitor- BIG screen

	Manuscripts
	Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that.
Enteropneust draft- coming along

	Personnel schedules
	Rich- 20-22 March 
Johnny- Bali March 19- April 15
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