| 20 November 2019 |  |
| --- | --- |
| Pulse 72 debrief | ADCP download data- remove battery- Do today All but SES images on pulse/project library Go through tool boxes Need to do a better job of cleaning isolator hardware How will macro fit into this cruise?Give Diana a chance to do a replicate? Prioritize |
| SES | Drilled out float bars so they will take the new shackles. Wakey. There’s a limit to how many times you can write to the flash 2 minute safety was in effect. Went through its scheduled 5000 sets. Will Rover has an issue with this? Not likely. John squeegies Will go on to cable- check rover lab for connectors |
| Rover | SCOC insertion depths Chamber camera needs servicing- Remind in Jan Johnny made new pivot pins, which had some corrosion (those were original). Need to send out to passivate and electropolish. Burnwire worked for first time on last recovery!! |
| Tripod | Red tagged mark I camera. Put a mark I back in.- Xif in late dec to see if camera had been used before. Fresh coin cell in mark I but not dualie. Update technical orders. |
| Optodes | Recalibrate and swap out. Look for dip in rover reference during salp blooms Check offset between reference optode readings Rover |
| ADCP postmordem | Parback was extruded out the back, cement inside. Ordered pc card reader. But will it work without being read from the instrument? Make sure Johnny helps us service the next one. Servicing one at sea…will be tough but we can make it work. |
| Year end spending | Camera Connectors- Alana spending $2k on Ti connectors Spare for macro Anodes, chain isolators We have 1 spare release Optode Recalibrate and swap out Check offset between reference optode readings Rover |
| Snappy delay | Doesn’t work…working to figure it out. Mark III and IV issue. |
| Lasers | Paul focusing on laser measure, writing code. Corrected images and digitized points, Dan will do parallel calcs. Dan is busy with his boat engine. |
| Larvae pump | Were able to pull the raspberry pi that died out of the housing. It did pump and the motor wa on for about 30 min at depth. What did go wrong? Power regulating chip on Pi is blown. Must have beena huge transient and need to better protect power supply. Check Elmo. Leaking filteration Big resister on thruster bus. Shunt regulator. Pretty sure motor controller is blown. Slow leak? But never saw any sign of water in comp system. All the bliss stuff is on pulse |
| Macro system (aka shrimpoteuthis) | Trying to calculate how to angle the camera. Johnny trimming frame. 50 mm lens, higher contrast. Cut housing in half Test in dark In 2020 Change to easier to use menu? Engineering logging? To measure angle off horizontal- ~30 degrees. Move to 45. Mount battery at mud level. 1 meter between strobes Deployment- how small can we make it? Too big to take down on ROV. Can’t go on elevator with larval pump No purge port, use alkalines for lasers Pressure test? Pump helium in to test weld? Playing with the angle |
| Solo camera height, angles | Not coming back. New mooring line will go on Solo camera and two inverted traps. |
| 30 year volume | Tom Connoly publish data and analysis code in a public repository. 16 papers |
| Olmo | Revising draft. Resolve field of view discrepancy . Paul working on it. |
| CTD | Return to Ussler |
| Lab cleanup | 18 Dec |
| Personnel schedules | 19-23 Dec Crissy in PA Paul- dates TBD Johnny taking off the day before thanksgiving and 2-5 Dec Rich 23 Dec – Jan 2 |