| 23 Jan 2019 |  |
| --- | --- |
| Lasers | Dan’s making progress, need to reduce contrast of calibration grid. |
| Pulse 71 ADCP | Tom Connelley has given us a preview of the data |
| Tripod scale | Not enough time to get this ready. Put it off. |
| SES | CLEAN VIEW! Paul- revisit Pre-dive checklist to clean slide, camera, etc. Replace slide? Find way to clean it. Squeegie of same material has been replaced but we don’t know about contact. Need better system of something that can be replaced every year. Needs compliance/spring loading. Last time wiper was changed was the last time it was on shore. Silicone won’t absorb or harden. Updating schematics. Spring loaded device behind squegie? Replace every year with silicone. Make a little longer so it has a little extra to wear off. Paul to tell JF where drawings are. Pulse 68 data files, pulse 70 is processing. Attenuation zero is added post processing. |
| Upside down sediment trap | Schmidt group has done some rapid protoyping will make coupler and union out of nylon (ok with formalin, close to HDPE for sealing). They do seal fluid when in closed position. There is an oring. |
| Larvae pump | Possible post doc? Configuring stack, housing. Rich found EPOS library port to Arduino C Ask for a 6 day cruise in spring of 2020, testing for larval pump. Meeting- When is next one? $500/sea battery. How many do we need? Paul running numbers for 20% succion. |
| Beacons | Beacon crisis has been solved. Emails had been turned off, and have been turned back on again. The sending address had been changed and has been fixed. We are now back in business. Still need password and username for web interface |
| Optodes | Need to change salinity setting, but have info from Aanderaa about that. Do we have a test stack for Rover to test optodes on shore? Or use spare SES stack |
| Pulse 71 Tripods | Solo needs to come home and update to snappy. |
| Backscatter data | See if we have everything- Crissy to work on |
| Macro system | Alana is compiling parts including spare snappy for a bench test Need to make new endcap. Check with Dave French to see if he has a spare housing we could use |
| Wave Glider | Going again in March. |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Crissy to make seasonal graphs- Show Sooz what Benthocodon look like on the bottom |
| Danielle | Data collection |
| Alana’s talk | Scripps April 11 |
| SES | Crissy generating plots |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. Ken- annotating near field and far field 67/68 Enteropneust draft- coming along Multibeam Kathy |
| Personnel schedules | Paul- Texas: 13-Feb-3rd March Johnny- take a vacation to SE Asia in March Rich Feb 4-8 Ken July |

Upgrades to Windows 10 for lab computers.

Plot: GIS of all stuff on bottom-

Ordering:

Alana 1-2 K for tripod USB/Ethernet extenders/connectors

Johnny cups/couplers- ~15K

Crissy Release repair

Putting the A and U of any AUV