| 24 April 2019 |  |
| --- | --- |
| Lasers | Paul working out details, will talk with Dan Davis this afternoon. Ultimately plan to implement rotating lasers. No new progress |
| Pulse 71 ADCP | Tom working on it- |
| Upside down sediment trap | Upside down sediment trap- Coming along. Will have cups by the end of the week. Has made the molds. |
| Larvae pump | Working on it. Met this am. |
| Vacuum pump | Need to recontact Labconco- May |
| New LF modem for Rover | Need mount (Johnny), Paul to get quote Alana had conference call with Benthos. Remove head oil filled ducer works much better on surface. It improves signal quality on the surface. At depth oil filled doesn’t give a lot of improvement….not worth it. |
| Macro system | Can only get 11,830 images per deployment. One lead acid battery is plenty of energy Connector size is slightly different. Alana looked for right angle connector. Stainless connectors. Rubber molded. Unplugging cable while powered can fry it. It has a funky cable clamp to make sure this doesn’t happen Need to make new endcap. Ready for housing to be cut once we’re convinced housing fits. |
| Sur Ridge input | 50 and 600 mab traps. Macro tests. Hope ready in Aug |
| Benthos deck box | Anyone want it |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | ROV volumes- Paul is working on it. ROV camera appears to be rotated |
| Danielle | Data collection |
| 2020 proposal | Write into proposal- deploy SES at MARS, plug it in, talk to Wave Glider. Debug Rover and SES, test larval pump port fees. how long to leave it out? |
| SES | Crissy incorporating input |
| Ocean weather | Fred has been working on particle tracking. 100 particles/day on sea floor and run backwards. Assign sinking/floating speed Can know physoc history |
| Open House lessons learned | Get new pool- Remind in May Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. Enteropneust draft- coming along Wave Glider- where are the data kept? Conversations haven't been logged. What data do we actually have? Was it damaged or fouled on the last one? Go in June? last week in May Rich is out. |
| Personnel schedules | Ken- 7-12 June Rich- 28-31 May Rich 21-24 June Paul mid June to early July Ken 9-21 July Alana- July 29-Aug 6ish Crissy—13-18 June 20 July Moon Landing open house |