| 3 April 2019 |  |
| --- | --- |
| Lasers | Making progress on zoom angle |
| Pulse 71 ADCP | Tom working on it |
| Upside down sediment trap | Still waiting for parts. Solid bridles on bar? |
| Larvae pump | Flow meter from Andy and need Andy’s data logger – Johnny getting that set up. Need to run it. Bought material for frame. Same as Dale’s sled exept for no angles. Find self enumerating ports. Need something to test. Raspberry Pi – 2 arrived and loaded up. Build is working fine, just need to bench test. |
| Vacuum pump | Spewed oil. Need to take apart chamber. Need to recontact Labconco |
| New LF modem for Rover | Need mount (Johnny), Paul to get quote |
| Macro system | Ran overnight with strobes and it worked. Maybe snappy wasn’t sleeping in its lowest sleep state. Need energy budget to decide in battery needs/housing size. Re-use battery can Deploy at Sur Ridge if possible to test. Need to make new endcap. Spare strobes lanternshark Successfully talked to LED strobes. Working on energy budget |
| Sur Ridge input | 50 and 600 mab traps. Macro tests |
| Benthos deck box | Anyone want it |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | ROV volumes- Paul is working on it. ROV camera appears to be rotated 12-13 degrees in the housing. Brian to be done with VARS issue in next few days |
| Danielle | Data collection |
| Alana’s talk | Scripps April 11. Finding a lot of what is needed. Leave morning of 11th |
| SES | Crissy incorporating input |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. Enteropneust draft- coming along |
| Personnel schedules | Johnny- Bali March 19- April 15 Rich- 28-31 May Ken 9 July 2.5 weeks Alana- Wisconsin lakes Crissy—13-18 June |