	5 June 2019

	Lasers
	Dan has compiled code, having trouble getting it to run on the Mac.

	Pulse 71 ADCP
	Tom working on paper, will prob see at end of June.

	Mooring failure
	Got failed swivels back and given us the results. Throw out our stuff, known USA vendors ideally manufactured in China get FORGED ss.

	Upside down sediment trap
	Changed fixture, waiting for the new part.

	Larvae pump
	Ready to test flow in test tank when space opens up.

	Freeze dryer
	Guy is coming to check it out. Sent serial number, catalog link. Scheduling guy to come down and check it out.

	New LF modem for Rover
	Alana ordered


	Wave glider
	Got LF modem ducer and we will loan him deck box and dunker, test at sea to make sure it works.

	Macro system
	11000 pics. ISO was set too short. Was black unless strobes were firing.  No feedback like with other strobes. Won’t know until it’s fully running if the strobes will fire.
Battery comes with four ft female cable.
No purge port. Not getting lithium batteries.

	Sur Ridge input
	50 and 600 mab traps. Macro tests. Hope ready in Aug 

	Benthos deck box
	Anyone want it? Paul to remove batts and send to e-waste.

	Project update
	Worry after cruise
Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it.
Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover.
Show the science of how this fits into the bigger picture. Methods. Science, Future. 
Alana- big picture why is this scientifically important
Tech roadmap, strategic plan.
Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling
Next lab meeting have this thing flushed out.
Viper after SES from abstract presentation
End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly

	Benthocodon
	Submitted

	Danielle
	Data collection

	2020 proposal
	Write into proposal- deploy SES at MARS, plug it in, talk to Wave Glider. Debug Rover and SES, test larval pump port fees. how long to leave it out?
Solo upgrade- camera, controller
Lots of hours for Larissa 

	SES
	Need update from Crissy. She should have all the data she needs to write paper.

	Ocean weather
	Need update from Henry.

	Expenses
	Mission critical only

	Manuscripts
	Enteropneust draft – Need update from Victoria

	Personnel schedules
	Ken- 7-12 June
Rich 24 June, July 1-8
[bookmark: _GoBack]Johnny- July 4th week
Paul 29 June to 20 July
Ken 9-21 July 
Alana- July 29-Aug 6ish
Crissy—13-18, 25 June
20 July Moon Landing open house



Wave Glider – Next mission to Sta. M end of June or early July. Can carry both low and med freq modems, but don’t have an LF modem to test wg. MF ‘ducer on WG is omni, need directional. Need to borrow directional MF from Hans, but ‘ducer needs some mechanical work. Can’t run both CO2 sensor and LF modem, so we’ll pull the CO2 sensor. Possible flakey modem cable on WG because they’re having problems with DAT system deployed now.
