| 5 June 2019 |  |
| --- | --- |
| Lasers | Dan has compiled code, having trouble getting it to run on the Mac. |
| Pulse 71 ADCP | Tom working on paper, will prob see at end of June. |
| Mooring failure | Got failed swivels back and given us the results. Throw out our stuff, known USA vendors ideally manufactured in China get FORGED ss. |
| Upside down sediment trap | Changed fixture, waiting for the new part. |
| Larvae pump | Ready to test flow in test tank when space opens up. |
| Freeze dryer | Guy is coming to check it out. Sent serial number, catalog link. Scheduling guy to come down and check it out. |
| New LF modem for Rover | Alana ordered |
| Wave glider | Got LF modem ducer and we will loan him deck box and dunker, test at sea to make sure it works. |
| Macro system | 11000 pics. ISO was set too short. Was black unless strobes were firing. No feedback like with other strobes. Won’t know until it’s fully running if the strobes will fire. Battery comes with four ft female cable. No purge port. Not getting lithium batteries. |
| Sur Ridge input | 50 and 600 mab traps. Macro tests. Hope ready in Aug |
| Benthos deck box | Anyone want it? Paul to remove batts and send to e-waste. |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Submitted |
| Danielle | Data collection |
| 2020 proposal | Write into proposal- deploy SES at MARS, plug it in, talk to Wave Glider. Debug Rover and SES, test larval pump port fees. how long to leave it out? Solo upgrade- camera, controller Lots of hours for Larissa |
| SES | Need update from Crissy. She should have all the data she needs to write paper. |
| Ocean weather | Need update from Henry. |
| Expenses | Mission critical only |
| Manuscripts | Enteropneust draft – Need update from Victoria |
| Personnel schedules | Ken- 7-12 June Rich 24 June, July 1-8 Johnny- July 4th week Paul 29 June to 20 July Ken 9-21 July Alana- July 29-Aug 6ish Crissy—13-18, 25 June 20 July Moon Landing open house |

Wave Glider – Next mission to Sta. M end of June or early July. Can carry both low and med freq modems, but don’t have an LF modem to test wg. MF ‘ducer on WG is omni, need directional. Need to borrow directional MF from Hans, but ‘ducer needs some mechanical work. Can’t run both CO2 sensor and LF modem, so we’ll pull the CO2 sensor. Possible flakey modem cable on WG because they’re having problems with DAT system deployed now.