| 6 March 2019 |  |
| --- | --- |
| Lasers | Dan has made great progress. NQR- tracking down user interface issues. Getting mm resolution. Need to go through ROV dive from last cruise (p71). Check about Larissa’s time – wait for window |
| Pulse 71 ADCP | Waiting to hear about next wed at 9 am |
| SES | Bring back next time. Get in October- Crissy to show attenuation crops to Paul. Crissy to open jpgs in Adobe Bridge to see image metadata file, to see if there’s an autowhite balance |
| Upside down sediment trap | Still waiting for parts. Solid bridles on bar? |
| Larvae pump | Flow meter from Andy – Johnny getting that set up. Need to run it. Bought material for frame. Same as Dale’s sled exept for no angles. Find self enumerating ports. Need something to test. |
| Optodes | Have test cable to optode and adapter for SES stack, connect it to optode test cable. Test cable DB9. Crissy to bring over optode and test cable, and Alana’s power supply |
| Vacuum pump | Got new hose in. Johnny has clamps. Set up |
| Pulse 71 Tripods | Solo needs to come home and update to snappy. No. Wait till it breaks. |
| Backscatter data | See if we have everything- Crissy to work on after SES draft is done. |
| Macro system | Changed software, now triggering reliably, change to take pic every five min with new strobes. Need energy budget to decide in battery needs/housing size. Re-use battery can Deploy at Sur Ridge if possible to test. Need to make new endcap. |
| Wave Glider | Going again in March. |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Plot with current meter data- with backscatter. |
| Danielle | Data collection |
| Alana’s talk | Scripps April 11 |
| SES | Crissy generating plots |
| Open House lessons learned | Get new pool- Remind in April Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. Ken- annotating near field and far field 67/68 Enteropneust draft- coming along Multibeam Kathy |
| Personnel schedules | Rich- 20-22 March Ken- 11th March Johnny- Bali March 19- April 15 Ken 9 July 2.5 weeks Alana- Wisconsin lakes |

Upgrades to Windows 10 for lab computers.

Plot: GIS of all stuff on bottom-

Ordering:

Alana 1-2 K for tripod USB/Ethernet extenders/connectors

Johnny cups/couplers- ~15K

Crissy Release repair

Putting the A and U of any AUV