	6 March  2019

	Lasers
	Dan has made great progress. NQR- tracking down user interface issues. Getting mm resolution.
Need to go through ROV dive from last cruise (p71). Check about Larissa’s time – wait for window

	Pulse 71 ADCP
	Waiting to hear about next wed at 9 am

	SES
	Bring back next time. Get in October- Crissy to show attenuation crops to Paul. Crissy to open jpgs in Adobe Bridge to see image metadata file, to see if there’s an autowhite balance

	Upside down sediment trap
	Still waiting for parts. Solid bridles on bar?

	Larvae pump
	Flow meter from Andy – Johnny getting that set up. Need to run it.
Bought material for frame. Same as Dale’s sled exept for no angles. 
Find self enumerating ports.
Need something to test. 

	Optodes
	Have test cable to optode and adapter for SES stack, connect it to optode test cable.
Test cable DB9.  Crissy to bring over optode and test cable, and Alana’s power supply

	Vacuum pump
	Got new hose in. Johnny has clamps. Set up

	Pulse 71 Tripods
	Solo needs to come home and update to snappy. No. Wait till it breaks. 


	Backscatter data
	See if we have everything- Crissy to work on after SES draft is done.


	Macro system
	Changed software, now triggering reliably, change to take pic every five min with new strobes. 
Need energy budget to decide in battery needs/housing size. 
Re-use battery can 
Deploy at Sur Ridge if possible to test.
Need to make new endcap.

	Wave Glider
	Going again in March. 

	Project update
	Worry after cruise
Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it.
Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover.
Show the science of how this fits into the bigger picture. Methods. Science, Future. 
Alana- big picture why is this scientifically important
Tech roadmap, strategic plan.
Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling
Next lab meeting have this thing flushed out.
Viper after SES from abstract presentation
End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly

	Benthocodon
	Plot with current meter data- with backscatter. 

	Danielle
	Data collection

	Alana’s talk
	Scripps April 11

	SES
	Crissy generating plots

	Open House lessons learned
	Get new pool- Remind in April
Layout was good
Get new big monitor- BIG screen

	Manuscripts
	Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that.
Ken- annotating near field and far field 67/68
Enteropneust draft- coming along
Multibeam Kathy

	Personnel schedules
	Rich- 20-22 March 
Ken- 11th March  
Johnny- Bali March 19- April 15
Ken 9 July 2.5 weeks
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Upgrades to Windows 10 for lab computers.

Plot: GIS of all stuff on bottom- 

Ordering:
Alana 1-2 K for tripod USB/Ethernet extenders/connectors
Johnny cups/couplers- ~15K
Crissy Release repair


Putting the A and U of any AUV

