| 8 May 2019 |  |
| --- | --- |
| Lasers | Going over Dan’s documentation written for other users. Making progress. Run over by bus insurance covered. |
| Pulse 71 ADCP | Tom working on it- |
| Mooring failure | Sending swivels to Navy guy. Back in town on 15th. Soaking in tank Andy and John Ericson |
| Upside down sediment trap | Upside down sediment trap- Coming along. Will have cups by the end of the week. Has made the molds. Needs the parts, should be in this week. |
| Larvae pump | Screens in Johnny’s lab Who has controller? |
| Freeze dryer | Need gauge for vacuum |
| New LF modem for Rover | Need mount (Johnny), Paul to get quote Just buy remote head. Plate is steel. Alana to call and see other options |
| Macro system | Unplugging cable while powered can fry it. It has a funky cable clamp to make sure this doesn’t happen Need to make new endcap. Both cameras will need 90 degree connector Alana to get connectors. Brief review block diagram of what’s in the housing next week |
| Sur Ridge input | 50 and 600 mab traps. Macro tests. Hope ready in Aug |
| Benthos deck box | Anyone want it |
| Project update | Worry after cruise Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it. Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover. Show the science of how this fits into the bigger picture. Methods. Science, Future. Alana- big picture why is this scientifically important Tech roadmap, strategic plan. Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling Next lab meeting have this thing flushed out. Viper after SES from abstract presentation End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly |
| Benthocodon | Figures Linda lat and long |
| Danielle | Data collection |
| 2020 proposal | Write into proposal- deploy SES at MARS, plug it in, talk to Wave Glider. Debug Rover and SES, test larval pump port fees. how long to leave it out? Solo upgrade- camera, controller VIPER? |
| SES | Crissy incorporating input. Getting data week of 13 May |
| Ocean weather | Fred has been working on particle tracking. 100 particles/day on sea floor and run backwards. Assign sinking/floating speed Can know physoc history |
| Expenses | Mission critical only |
| Open House lessons learned | Get new pool- Remind in May Layout was good Get new big monitor- BIG screen |
| Manuscripts | Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that. Enteropneust draft- coming along Wave Glider- where are the data kept? Conversations haven't been logged. What data do we actually have? Was it damaged or fouled on the last one? Go in June? last week in May Rich is out. |
| Personnel schedules | Ken- 7-12 June Rich- 28-31 May Rich 21-24 June Johnny- somewhere. Paul mid June to early July Ken 9-21 July Alana- July 29-Aug 6ish Crissy—13-18, 28 June 20 July Moon Landing open house |