	9 Jan  2019

	Lasers
	Dan’s back on it but getting new info.

	Pulse 71 ADCP
	Tom Connelley has the data. Needed to use the laptop that was used to get it ready for deployment. 

	Tripod scale
	Not enough time to get this ready. Put it off.

	SES
	CLEAN VIEW! Paul- revisit
Pre-dive checklist to clean slide, camera, etc. Replace slide? Find way to clean it. Squeegie of same material has been replaced but we don’t know about contact. Need better system of something that can be replaced every year. Needs compliance/spring loading. Last time wiper was changed was the last time it was on shore. Silicone won’t absorb or harden. Updating schematics. Spring loaded device behind squegie? Replace every year with silicone. Make a little longer so it has a little extra to wear off. Paul to tell JF where drawings are. Pulse 68 data files, pulse 70 is processing.  Attenuation zero is added post processing. 

	Upside down sediment trap
	Cups are being made, made 5 HDPE from mold, so we can verify it’s good before giving go ahead. 

	Larvae pump
	Possible post doc? Configuring stack, housing. Rich found EPOS library port to Arduino C
Ask for a 6 day cruise in spring of 2020, testing for larval pump.

	Beacons
	Alana drafting an email to check with Woods Hole Group to see why we haven’t been getting any of the emails from the Argos beacons
Use old style beacons at long deployments at deep sites because they haven’t had failures with the new switches yet (but they are less than a year old)

	Optodes
	Working, Need to change salinity setting, but have info from Aanderaa about that.
Do we have a test stack for Rover to test optodes on shore? Or use spare SES stack

	Pulse 71 Tripods
	Solo needs to come home and update to snappy. 


	Backscatter data
	See if we have everything


	Macro system
	Test camera using spare snappy
Can we get the Mark III? Price Macro lens. Could make frame out of plastic and fiberglass. Buy slug of titanium to make end cap. Put camera and batteries all in one. Power budget picture every 1 or 5 min. Camera ordered, with lenses. Camera can fit in housing with different end cap.
LED lights found! IN THE LAB!
Test system over a few days if we can get a cruise spring 2020
Figure out whether to make that an elevator 

	Bad release 
	Not bent pin. Fixed.

	Wave Glider
	In a few months 

	Wish list
	Order ½ inch ti washers, Make 3 more bushings

	Project update
	Worry after cruise
Update of how the technology we’ve developed can be used in other places, future. Next Wed work through it.
Engineering acomplishments so far: Rover, SES, Dualie, + 1 yr deployment. Refresh what the instruments do. We’ve overcome these challenges (including turnover in less than 48 hr). Drew’s time lapse of clearing the deck. Next steps- event triggering (on sea floor, profiling). Getting a better picture of the pulses. This technology doesn’t need to be used only at Station M. Kathy is interested in building a Rover.
Show the science of how this fits into the bigger picture. Methods. Science, Future. 
Alana- big picture why is this scientifically important
Tech roadmap, strategic plan.
Fast sinking events, integrating carbon budgets supply/demand, high res long-term sampling
Next lab meeting have this thing flushed out.
Viper after SES from abstract presentation
End on video transects, Introduce Laser measure and ultimately go to AUV transects and Park and Fly

	Benthocodon
	Finished 66-4. Has 66-5 to finish

	Danielle
	[bookmark: _GoBack]Data collection

	Open House lessons learned
	Get new pool- Remind in April
Layout was good
Get new big monitor- BIG screen

	Manuscripts
	Wave glider communication Rich, Brian, Paul, Chris Wahl – Ken talked to Doug about that.
30 year volume DSR- Send Ken your titles – Abyssal time-lapse camera system provides insights into small-scale processes- Paul, Alana, and some biologists
Ken- annotating near field and far field 67/68
Enteropneust draft- coming along
Multibeam Kathy

	Personnel schedules
	Paul- Texas: 13-18 Feb; 23-3rd Feb/March
Next week Rich is out




Upgrades to Windows 10 for lab computers.

Plot: GIS of all stuff on bottom- 

Ordering:
Alana 1-2 K for tripod USB/Ethernet extenders/connectors
Johnny cups/couplers- ~15K
Crissy Release repair


Putting the A and U of any AUV

