| 11 Sept 2019 |  |
| --- | --- |
| Lasers | Dan is coming to talk about helical arrangement: decide on mount configuration and target Duane has put Dan’s code on version control in GIT Looking for bodies to sit down and do frame grabs/measurements. Before cruise- need to set angle of lasers and get helical twist. Make new is situ calibration target with shades of gray and put colors in there. Talking mounts Has a new target |
| Pulse 71 ADCP | Paul gave lots of edits |
| Mooring failure | Hardware is in. Needs to be tested.It’s in Johnny’s lab to move to trailer along with new lines that are already in trailer. |
| Upside down sediment trap | New bridles on two traps, one looks fair. Cleaned them. Swap sediment traps out there with new ones coming, so we’ll have one extra. Squirty has been taken off Ti bridle decision on hold Almost ready. Valencia Plastics has started new bacth of cups today (100 or 200) |
| Larvae pump | Dale can do tuning and config when he gets back. Johnny to cut more screen. Rich is working on it. Is there a test cable for maxon? Johnny has the index motor. There is a hall sensor. Needs to take it to pot. Index motor comp- Dale has a plan for relieving the board Aug 21st. Kim R has a method for cutting screens Working on cables for pump |
| Freeze dryer | Ordered spare parts |
| Wave glider | Getting ready for Canon. |
| Macro system (aka shrimpoteuthis) | Sidelined until the other aspects are done. Keep up momemtum and finish after cruise. 50 mm lens, higher contrast. Cut housing in half Will we have a pointer laser ready? Lid’s coming in the mail. Johnny working on endcap. Test in dark In 2020 Change to easier to use menu? Engineering logging? To measure angle off horizontal- ~30 degrees. Move to 45. Mount battery at mud level. No purge port, use alkalines for lasers Pressure test? Pump helium in to test weld? |
| Cruise prep |  |
| Solo camera height, angles | Not coming back. New mooring line will go on Solo camera and two inverted traps. |
| Rover | Changing transducer. It’s bigger. Johnny to get it from Rover lab when he has time. |
| 30 year volume | Ten papers submitted: 1 accepted fully. 5 in revision. |
| Olmo | Revising draft |
| Personnel schedules | Rich-Sept 19-4 Oct Alana- 9-17 October 9 October |