| 12 Feb 2020 |  |
| --- | --- |
| Lasers | Zhang paper- how do we calibrate in water? Checkerboard pattern of known size. Gives intrinsic and Extrisic camera attributes Dome and camera axis are not perfectly aligned. Duane thinks we might not need to recalibrate Duane found Caltech package that replaces Matlab package For 2020 aim for a paper, use this on animals Support 2020 cruise (**test it on animals, 3D print a peniagone that won’t squish or turn to snot on the way up. see error based on “topography” of animal off the sea floor). 3 diff sizes, measure from head vs footprint? |
| Tom oriley | We do this while we can test it in the bay. Test it with any modem that we can hit. What other modems are out there? Don’t wait till Station M to start testing, because of how finickey the modem connection is there. |
| Rachel Carson 22-23 May | Elevator with Larval pump deployed free vehicle. Hydrophone drop off. Deploy SES Use the ROV to Plug in SES make sure larval pump is working. Check on Quest Weights need to be recovered. Otherwise have to get special permission from Sanctuary (if >500 lbs) |
| SES | Opened battery sphere to pull batts. Looks good inside. Working on wiper. Pull pin have it on the bottom What happened to those floats? Ask Craig- is there a current meter out there? Transissometer? Alana and Paul found all MARS interface hardware. Still need board with all the diodes? 65 m of cables. Work on squeegee. New slide. Wakey. There’s a limit to how many times you can write to the flash 2 minute safety was in effect. Went through its scheduled 5000 sets. Will Rover has an issue with this? Not likely. John squeegies Fluorescence reference in carousel add puck for monthly fluoro reference. Fouling was on the ouside because the squeegee had failed. Does the cloudiness happen at MARS? And if so, then will it clear faster? Service all o-rings Found some compatible brushes Will go on to cable- check rover lab for connectors Code for wakey Check front lit images --Can we include an occasional image of a slide with a zero collect time? Will open battery housing, drop carousel to clean out grit. |
| Rover | Chamber camera needs servicing- keep reminding Johnny made new pivot pins, still at plater One chamber gives higher SCOC values than others. Change out two chamber optodes. Take the two that we take off of it and see what the offsets are and can we correct for it? |
| Main Tripods | Nothing to report |
| Optodes | Need boots for four optodes. Swap out a couple. Look for dip in rover reference during salp blooms Is there a solution we should use in the field to rinse and get off any oils? Check offset between reference optode readings Rover. Rover optodes: Swap out one or two of the reference optodes. One is getting noisy Can RBR logger work for a year so we can test the new optodes for a year |
| ADCP postmordem | Johnny to service at sea. |
| Larvae pump | Pump is reassembled and tuned, has motor driver with replaced oscillator. Goal to get whole assembly into pressure test. Early next week. Connected I pressure testing facility. Pressure test tomorrow. Leave it soaking for a while after test. Cycles – work out psi/min (50-600). Run only at depth, not on way down/up. ~2 hour descent. More than a day to get 4 cycles. Base plate of the power filter board- stripped Design housing, or buy pressure-tested housing? Tuned with long time constant to avoind voltage spikes from abrubt stop. Titanium servo like on Rover? That’s plan B if pressure test fails. Instead of jeopardizing insert, use old cable. Old 8 pin whip. Gave index motor to Dale and he is happy with it. Thruster being assembled and will be pressure tested. Apparently the whole assembly had never been tested at 4000 m. Now going to test the whole thing. After test clean pump and “meger” it. Got MBARI board removed from Elmo. Serial number is not on there. Have RMA form. Dale may have a whistle we can use. Leaking filteration Needs a schematic given to Paul so he can rewire the thruster backup. Dale;s and Alana has access to it. |
| Macro system (aka shrimpoteuthis) | Johnny making chassis Put 50 mm lens on, put in pocket of face plate and it fits. There’s a teeny tiny bit of shadow on the bottom corners but it’s fine. Rough estimate of 35 degrees of it looking down but bottom bar might be in view. Don’t want to cantilever the camera out Johnny to model parts before cutting the housing. In 2020 Change to easier to use menu? Engineering logging? Mount battery at mud level. 1 meter between strobes Deployment- how small can we make it? No purge port, use alkalines for lasers Pressure test? Pump helium in to test weld? Macro aiming laser Test in July 1 Min-K10 ccpl-ti- Alana owes us. More time mid march |
| Snappy | Success. It’s in project library. 1.35 Newer compiler blows storage budget. Spits out so much. Paul built new version, but code base wakey, snappy compiler no longer compiles. Have to get an recompile all of our code bases. Microchip compiler Paul to look at, and will call in pro. |
| Ken | REV ocean? Ken thinking about icebergs again |
| Board meeting 30 min presentation | 1st week of March From what it started as, what have we learned, what have been key discoveries, where are we going? An evolution. Historical |
| Olmo | In review |
| 30 year volume | 12 accepted out of 16 Rest are in various stages of revision |
| Personnel schedules | Crissy- April ~ 1-11? Johnny last week Feb. |

Wed Alana at ASLO