| 29 July 2020 |
| --- |
| Lasers | Use coral camera to hang target to test calibration software. Had to digitally remove red square. From that it can tell focal length and radial distortion of lens + port. Tells you principal point (center of radius of distortion).--Zhang paper For 2020 aim for a paper, use this on animals Support 2020 cruise (**test it on animals, 3D print a peniagone that won’t squish or turn to snot on the way up. see error based on “topography” of animal off the sea floor). 3 diff sizes, measure from head vs footprint? Will show this to Dan Davis to incorporate it into Laser measure to make calibration more efficient. 5-10 min of bottom time. Dan said he wanted video from last dives Will have to wait until can get files- post pandemic Put out better calibration target in October- no square, all gray |
| Loop and Cross | Talked with Chris. WG going out next week. Paul will give est. Rover location. Tom O’riley: We do this while we can test it in the bay. Test it with any modem that we can hit. What other modems are out there? Don’t wait till Station M to start testing, because of how finickey the modem connection is there. Same as laser measure WG supposed to happen when we reopen Involves Tom Oriley- Does tom know of a local target with a modem? Tiny might go to Station M next month. Resending algorithm Old on is on a mission and will be back at the end of this month. Sending to Station M in Aug We’re putting put SES on MARS on 18 Aug |
| Rachel Carson Aug, September. | Rich turn everything off before he goes on vacation so we can just unplug. Train Paul to deal with Larval pump. Elevator with Larval pump deployed free vehicle. Hydrophone drop off. Deploy SES Use the ROV to Plug in SES make sure larval pump is working. Check on Quest Weights need to be recovered. Otherwise have to get special permission from Sanctuary (if >500 lbs) Precruise should go in soon. SES manual release, with strongback underneath too. Dual releases. Cutting things Do they need to be filtered right when they come up? Diana only no second day if at all. Rich, Paul, Johnny. Possibly Diana on second day. |
| SES | On hold- waiting for mechanical work, have to hook up MARS interface 4 glass lenses coming. Ones off maching were scratched. Has been rubbing grit across the plates Taken apart. Found leak in compensating diaphragm. We have three spare motors, two were leaking oil. Sent request for quote for 5 new diagrams. Refurb motors. Connect spare guts to SES. Let Rich do his magic. Pull pin have it on the bottom What happened to those floats that had been attached to SES frame when it was deployed at MARS? Castroville? Ask Craig- is there a current meter out there? Transissometer? Still need board with all the diodes? 65 m of cables. Work on squeegee. New slide. During wear test with 3 differrent durometers for squeegee. Use silicone. Wakey. There’s a limit to how many times you can write to the flash Fluorescence reference in carousel add puck for monthly fluoro reference. Make sure glue isn’t fluorescence. Press it in. Does the cloudiness happen at MARS? And if so, then will it clear faster? Service all o-rings Check front lit images --Can we include an occasional image of a slide with a zero collect time? Disassemble housigs to replace o-rings and plug in mars interface Top plate is off, it’s in pieces. Bought ports or in process. 8 week lead time, has been more than 8 weeks. Old ones were scratched. Do we have the orings we need? We should. If not, McMastercarr has them and we should be able to get them within a day. Embed a fluorescent target. Should be easy to machine pocket and press in puck. Paul has the reference material. Paul and John should plan to meet at MBARI once we open. John and Aaron can separate in their lab. Hopefully windows are sitting there on Johnny’s desk Mechanically put back together- a couple of weeks 50/50 alcohol water mix. Get bubbles out.- ½ gallon (1L) Aim to get in test tank by end of month Rich working on controller so it can wake up and check its messages. Would be better if we have modems that were better matched. Is it a difference of firmware or do we not want to risk that at sea? Dunker and modem firmware. Mechanically ready to go back together. New modem? SES is in worse shape and does it even really work? Change just the guts? Can we do that? Johnny and Rich have been working on it getting flotation together. Paul- be cautious and replace o-rings in sim. Have to rewire. Fluorescence from delrin. No- had misaddressed data file and was subtracting the wrong background. Battery issue being issued Switching power supplies so it can run off MARS. Trying to put back into chassis. Will take rest of today/Monday Flotation is finished Lead bricks placed all along plastic plate dropweight. Battery sphere is rewired for MARS connection, addresses changed Why is SES modem battery dead?- order more DJ good plan for pilots to make cutaway weight plate, flat on bottom Current meter? Got the SES in the test tank today Some weird MARS connection issue, is getting in way of comms Left running on deck cable plugged into a laptop. Rich can run testing from home till MBARI can open again. Closure gummed it up. Corrupt board – memory card, have spare. Run in tank a week |
| Rover | Chamber camera needs servicing- keep reminding Johnny made new pivot pins, still at plater One chamber gives higher SCOC values than others. Change out two chamber optodes. Take the two that we take off of it and see what the offsets are and can we correct for it? Check LF ducer to modem Processed transit images-Grimpoteuthis |
| Optodes | Need boots for four optodes. Swap out a couple. Look for dip in rover reference during salp blooms Is there a solution we should use in the field to rinse and get off any oils? Check offset between reference optode readings Rover. Rover optodes: Swap out one or two of the reference optodes. One is getting noisy Can RBR logger work for a year so we can test the new optodes for a year |
| CO2 sensor | Needs to be pressure balanced. Need seabird to do it. Can’t step on their toes. Paul will talk to Gene, try to get Yui in on meeting. Set up new meeting. Find out about the whole stepping on toes bit.gene no time next year. Add port to existing housing. Fill with oil. John Ericson 14 d 500$ gene 2 d time- need minimum of 3 Sent email to Ken J. Waiting for reply |
| Larval pump (BLISS) | Titanium servo like on Rover? That’s plan B if pressure test fails. Instead of jeopardizing insert, use old cable. Old 8 pin whip. Apparently the whole assembly had never been tested at 4000 m. Now going to test the whole thing. After test clean pump and “meger” it. Dale may have a whistle we can use. Do we have motor specs? Needs a schematic given to Paul so he can rewire the thruster backup. Dale’s and Alana has access to it. Leaking filteration 1st use 850 m Our motor has a resolver so won’t work with Rover motor. Dale researched a magnetic encoder that might work at depth. Try oscillator that elmo uses- official approved. If doesn’t work, then 1 atm housing. Still don’t have a solution. Johnny has some lids that might work. Extra parts from from FVGR stabs. Extra cans. Might be path of least resitance. Needs 2 electrical connectors. Junction between oil filled motor and 1 atm housing. There’s a bulkhead to wall those off. Paul and John need to be there to look at these things. Can look at size of batter can. Can ex servo fit in there. John doesn’t have access to those, and no solid works on laptop. Elmo in 1 atm housing. Oscillators came Paul working to sin motor and then can reassemble, test next week During last pressure test broke mk8 insert from rover spares. Have to order three. $183 x 3 + tax and shipping. Johnny working on housing for motor controller, have connector from Hans Looking good so far Schematics are done. Needs tech to wire the 1 atm motor driver. Need to connect with Dale who has spare motor driver. Last pump motor controller failed when trying to make it pressure tolerant. When that crystal was replaced, didn’t put (jumper?) on board. |
| Macro system (aka shrimpoteuthis) | Johnny making chassis- cut, machine, welded Put 50 mm lens on, put in pocket of face plate and it fits. There’s a teeny tiny bit of shadow on the bottom corners but it’s fine. Rough estimate of 35 degrees of it looking down but bottom bar might be in view. Don’t want to cantilever the camera out Johnny to model parts before cutting the housing. In 2020 Change to easier to use menu? Engineering logging? Mount battery at mud level. 1 meter between strobes Deployment- how small can we make it? No purge port, use alkalines for lasers Pressure test? Pump helium in to test weld? Macro aiming laser Test in July 1 Min-K10 ccpl-ti- Alana owes us. More time mid march Schematics double check. No son of snappy. |
| Snappy | Son of snappy. SOS. Some “last kingdom” reference…. Restart halt bug Success. It’s in project library. 1.35 Newer compiler blows storage budget. Spits out so much. Paul built new version, but code base wakey, snappy compiler no longer compiles. Have to get an recompile all of our code bases. Microchip compiler Paul to look at, and will call in pro. Code- on a repository on bit bucket. Needs to be hooked up to hardware and tested. Alana might have what she needs to test it. Alana might be able to do some testing. Only need to generate new code when the pics are changed. Could download xc8 1.42. Rich will put in tempbox. Can have more than one compiler, just have to say which one you’ll use. Tested and everything that Alana can test from home is working. Trigger strobe it charges for ten seconds. How to set charge time? Add this feature. And set timeout- goes to sleep very qickly. Next step test with camera and strobes Battery voltage was not accurate Will be a bit before can be tested. After proposals. Alana has not yet compiled new code. On hold till …end of August if MBARI is open |
| Pulse 73 | Batteries Bring back Solo and update camera? If so Son of snappy will go into that. Put son of snappy in macro |
| New camera for Solo | Buy in Dec after seeing Jim’s camera in the fall |
| Sediment trap samples | At UCSB |
| Proposal 2021 | Submitted- Mariah working on budgets |
| Papers | Yearly-hourly- compare community structre behavior to ecological variables Larissa’s ms paper |
| Next paper | Santa Anas, Winds, River discharges- San Juaquin – has ahuge gap, Fire coverage- it’s in reports, precip, Dan Cain- Could potentially recreate. Any westbound vector. Visual satellite- smoke is making it over the water. Smoke data from satellite- 2006/08 might be as far back as we can go San Juaquin in my tempbox Salinas river More rivers? Precip- which region/compilation do we want to look at? Atmospheric reanalysis gridder 2 degree Winds- santa anna wind index – Dan Caine |
| Diana | Leaky rig- solved with clamps, small amount of water, 60 micron only filters- max size not leaky Metabarcoding applied to Shannon’s dataset. |
| Iris camera | Use at Station M- Might be able to do with no extra funding |
| ITS | Infauna data to Monique- not the same integration |
| Personnel schedules | Paul- Aug 6-9th van camping |