| Oct 20 2020 |
| --- |
| Lasers | Support 2020 cruise (**test it on animals, 3D print a peniagone that won’t squish or turn to snot on the way up. see error based on “topography” of animal off the sea floor). 3 diff sizes, measure from head vs footprint? Put out better calibration target in October |
| Loop and Cross | Tom oriley running it! Squashed some bugs, made some changes to the algorithms, won’t be able to test again till station m, or find another target? Tom asked when we might test…depends on when rover gets back down |
| SES | Debrief: SES- compare pics to older pics Work on squeegee. New slide. During wear test with 3 differrent durometers for squeegee. Use silicone. --Can we include an occasional image of a slide with a zero collect time? New modem? SES is in worse shape and does it even really work? Change just the guts? Can we do that? Why is SES modem battery dead?- order more Has new flash card. Installed the spare. Need to make two more spares. Need to replace every time. Haven’t done MARS interface testing. Duane Thompson can come in tomorrow to run the wet node simulator. Is there a solid state drive. Needs controller. Then there’s power issues. Modem log battery Need to switch it back to Battery mode. Paul can do Monday Schmutz in the optical path Moved flow through hole under glass and cleaned it 7 surfaces |
| Optodes | Need boots for four optodes. Swap out a couple. Look for dip in rover reference during salp blooms Check offset between reference optode readings Rover. Rover optodes: Swap out one or two of the reference optodes. One is getting noisy Put calibrated ones on. |
| Larval pump (BLISS) | Diana- please make video and doc of how you want me to process samples on Flyer cruise It worked! Collected amphipods, etc. Diana to make manual Couple of teeth missing Big ring sprocket missing teeth . Can remake new geares and print them out if needed. By last chamber lagged by 0.5 inch, possible becayse of counts of teeth during rotation? All else worked great Samples will be sent to OSU for DNA extraction Paul needs to figure out sink rate to account for idling hours and hours at station m |
| Macro system (aka shrimpoteuthis) | Johnny making chassis- cut, machine, welded Put 50 mm lens on, put in pocket of face plate and it fits. There’s a teeny tiny bit of shadow on the bottom corners but it’s fine. Rough estimate of 35 degrees of it looking down but bottom bar might be in view. Don’t want to cantilever the camera out Johnny to model parts before cutting the housing. In 2020 Change to easier to use menu? Engineering logging? Mount battery at mud level. 1 meter between strobes Deployment- how small can we make it? No purge port, use alkalines for lasers Pressure test? Pump helium in to test weld? Macro aiming laser Test in July 1 Min-K10 ccpl-ti- Alana owes us. More time mid march Schematics double check. No son of snappy. Something about strobes, incandescent yellow glow…200 lumens, just buy deep-sea power and light for Jim’s system. Use those instead of Cathx? Talking power, wavelengths, color temp- buy with money at end of year $2600 each. Will they remember settings after recycle power?- Johnny updating cad After cruise |
| Snappy | Son of snappy. SOS. Some “last kingdom” reference…. Restart halt bug Success. It’s in project library. 1.35 Newer compiler blows storage budget. Spits out so much. Paul built new version, but code base wakey, snappy compiler no longer compiles. Have to get an recompile all of our code bases. Microchip compiler Paul to look at, and will call in pro. Code- on a repository on bit bucket. Needs to be hooked up to hardware and tested. Alana might have what she needs to test it. Alana might be able to do some testing. Only need to generate new code when the pics are changed. Could download xc8 1.42. Rich will put in tempbox. Can have more than one compiler, just have to say which one you’ll use. Trigger strobe it charges for ten seconds. How to set charge time? Add this feature. And set timeout- goes to sleep very qickly. Next step test with camera and strobes Battery voltage was not accurate Some things work some don’t. Check with Rich – after cruise work on little bugs |
| Pulse 73 | Batteries- Alana to oversee voltage check- happening as we speak Schedule: Get rid of SES first- assemble in well deck before leave. Then deploy BLISS- try for two 60 h deployments Pack optodes Bring Rover back Alana-Order SD cards- Excellent completion of task Plan on turning over inverted trap and reusing cups |
| New camera for Solo | Buy in Dec after seeing Jim’s camera in the fall |
| NOC Rover | Give them drawings. Some of the parts might not be available/need to be updated. Include some engineering time in their request. Ti spheres- can’t get anymore. Will need to figure our new way. WaChong industries retired |
| Proposal 2021 | Submitted- Mariah working on budgets |
| Papers | Yearly-hourly- compare community structre behavior to ecological variables Larissa’s ms paper |
| Next paper | Santa Anas, Winds, River discharges- San Juaquin – has ahuge gap, Fire coverage- it’s in reports, precip, Dan Cain- Could potentially recreate. Any westbound vector. Visual satellite- smoke is making it over the water. Smoke data from satellite- 2006/08 might be as far back as we can go San Juaquin in my tempbox Salinas river More rivers? Precip- which region/compilation do we want to look at? Atmospheric reanalysis gridder 2 degree Winds- santa anna wind index – Dan Caine- HABMAP stations to sample ash Westwatch call on Tuesday- |
| Diana | Connected with Nate, discuss OSU sample shipping/analysis, |
| Iris camera | Use at Station M- Might be able to do with no extra funding- LRAUV version design review 5 october. Another step needed to add to Ricketts |
| ITS | Infauna data to Monique- not the same integration |
| Personnel schedules |  |