| November 17, 2021 |
| --- |
| Lasers | Need correction for distortion. Center of distortion is not the center of the image. Assymetrical barrel distortion. Sending pics to dan davis Not doing lasers next Monday Dan has been working on data from last calibration in June- got some promising results. Measure plastic animals Nothing to report on leasure measure |
| Loop and Cross | Very interested and thinks it’s publishable research. But he can’t promise we’d have something by July. Paul was able to fix some code issues to improve location data Kent’s reporting to Paul today Put Rich in the loop Kent has been working a lot on that Chris is helping him try to run some code on the wave glider Kent is testing his code on SES- Phase 2 ask for 80 hours of Kent’s time. Made a lot of progress and wants to finish it. Wait until we have targets out there |
| Squirty | Need to put it on When Johnny puts squirty on traps, add batteries |
| Macro system | Testing worked. On standby until next carson deployment |
| Snappy | Make more snappy boards Expect a PO Not till macro is working Making more snappies Alana to make setup- call in Rich to finish the working product Alana to check notes Need to work out bugs of new snappy. Don’t ask |
| Rover export: PMEL, NOC | Sent diagram New contact of someone who can make the spheres Chafey spheres |
| SES prep | Figure out fluid issue. Pulled small camera off, looks similar. Ken: Get rid of o-ring lube and leaft the rest the same. Plastic PVC was always turning white. Can install batteries in a few hours. Discussing whether solution needs to be 50:50 DI ethanol. Going to replace tubes Took fluid chamber off Just need to put back together Plus normal battery servicing. Use 50 DI water/50 ethanol with no o-ring grease |
| Rover troubleshooting | Port rack controller is open and ready to test (Rich, Alana, Paul will do when they have time) Need to open starboard rack Don’t know why propulsion motor wasn’t running. Did donuts for a few times, but then motor controller totally failed. Need to change lithium battery that powers the wake up No water in motor controller If doesn’t move, still take photos. Still did incubations. During mission, some components stop trying once something goes bad. Add a “keep trying” aspect to the code. Log error and keep going. Once it found there was a failure in the communication it wen’t on the no-go list. That one motor (stbd controller) isn’t returning status. On RS45 tied together. Can talk to one but not the other. Means comm line at least to one is good. LF modem just get rid of it. Send to Benthos and say See! This is no good! MF modem battery is dead. 3 v left. Overnight fluoro imaging- took 650 In a row, then failed the next 2500. Set it to ignore failures and keep trying. STBD propulsion motor- burnt pin. Replaced STBD rack comms- new test. Ran up/down LF modem ready to go. MF modem- Should ship next week. swap out. Don’t spend time troubleshooting Port prop motor controller looked fine Leak- take port rack off, turn upside down, make sure not to get bubbles in. Strobe air bubble- swap out with spare. Batts, o-rings Soon ready to change broken hose. A lot of plastic clamps on hoses are loose. Johny will change those. No showstoppers yet. Change batteries after testing No one has changed pins of motor controllers Get those pins replaced and buttoned up STBD Rack- ran the rack down and up 80 times each. No failures, very consistent timing. No errors. Change sugar pack desiccants Load weight on it before taking to ship. Pre-load weight when loading on the ship |
| Rover, SES comms | Bring MF dunker, make sure davit works Make sure we have the black line |
| Benthos modem | Don’t have MF yet. To be shipped 19 Nov LF not yet mounted |
| pH sensor | Buy one or two more |
| Papers | Larissa’s ms paper Oxygen –ask Henry to evaluate PAP data Yearly-hourly- compare community structre behavior to ecological variables- Later |
| Eye-Ris camera | Talking about taking it out today. On AUV. Check out Brett’s photo |
| Cruise | If don’t have time for everything, don’t get Dualie ready. Should be ready in time for a January cruise |
| Budget- | Any big expenses coming up? Buy PH sensors? Yes. Buy sensors |
| ITS | Ken to get an email from Monique |
| Personnel schedules | Rich- out the last couple of weeks of the year Crissy- Mid 15-21 Dec Ken- 25 Dec-4 Jan Johnny- Thanksgiving week Paul may be in Texas in early January Rich is out the last week in January Third week is clear. Crissy- April some time |