| October 27 2021 |
| --- |
| Lasers | Need correction for distortion. Center of distortion is not the center of the image. Assymetrical barrel distortion. Sending pics to dan davis Not doing lasers next Monday Dan has been working on data from last calibration in June- got some promising results. Measure plastic animals |
| Loop and Cross | Very interested and thinks it’s publishable research. But he can’t promise we’d have something by July. Paul was able to fix some code issues to improve location data Kent’s reporting to Paul today Put Rich in the loop Kent has been working a lot on that Chris is helping him try to run some code on the wave glider Kent is testing his code on SES- Phase 2 ask for 80 hours of Kent’s time. Made a lot of progress and wants to finish it. Wait until we have targets out there |
| Squirty | Need to put it on |
| Macro system | Testing worked. On standby until next carson deployment |
| Solo | In The Water |
| Snappy | Make more snappy boards Expect a PO Not till macro is working Making more snappies Alana to make setup- call in Rich to finish the working product Alana to check notes Need to work out bugs of new snappy. Lower priority |
| Rover export: PMEL, NOC | Sent diagram New contact of someone who can make the spheres Chafey spheres |
| SES prep | Figure out fluid issue. Can install batteries in a few hours. |
| Rover troubleshooting | Fluorocam worked fine During mission, some components stop trying once something goes bad. Add a “keep trying” aspect to the code. Log error and keep going. Once it found there was a failure in the communication it wen’t on the no-go list. That one motor (stbd controller) isn’t returning status. On RS45 tied together. Can talk to one but not the other. Means comm line at least to one is good. Need to open it up and see what’s going on. |
| Rover, SES comms | Bring MF dunker, make sure davit works |
| Benthos modem | Don’t have MF yet. To be shipped 19 Nov LF not yet mounted |
| pH sensor | On Solo frame |
| Papers | Rover paper in press- COVER SHOT!! Larissa’s ms paper Oxygen Yearly-hourly- compare community structre behavior to ecological variables- Later |
| Fathomnet | Gave her benthocodon Something that auto scans for Holos upon VARS upload |
| Eye-Ris camera | Worked Eric is looking at the data Descent was too fast. Best data from Benthic transect |
| October cruise | We went. Wait to hear anything from DMO about getting more days |
| ITS | Ken to get an email from Monique |
| Personnel schedules | Rich- out the last couple of weeks of the year Crissy- Mid Dec Ken- some time |