| 11 August 2021 |
| --- |
| Lasers | Next time we go out on Carson, take target and recalibrate New target sent to Duane. Checking target. Got a green laser to serve as indexing laser Will need to do calibration Target is ready for Friday, needs to re-aim the lasers Making progress Need tiny animals back so we can measure Get Larissa to measure small animals Duane started processing video- frame grabbed 31 images of target, all 31 accepted by software Need correction for distortion. Center of distortion is not the center of the image. Assymetrical barrel distortion. Sendng pics to dan davis |
| Loop and Cross | Very interested and thinks it’s publishable research. But he can’t promise we’d have something by July. Paul was able to fix some code issues to improve location data Kent’s reporting to Paul today Put Rich in the loop Kent has been working a lot on that Chris is helping him try to run some code on the wave glider Kent is testing his code on SES- Phase 2 ask for 80 hours of Kent’s time. Made a lot of progress and wants to finish it. |
| Rachel Carson days September | Rich telepresence Set out precruise this/next week pH sensor macrocam |
| Squirty | Get Probattery to make battery packs- ordering 8 packs Spare fiberglass cross member? Waiting for quote from cans. Prefer bars to be turned to lengths to ship off to a machine shop Need to work on mounting maniforlds Everything is at sea Found a finished Teflon cone Have been mounting new cone into sediment trap Battery cans in ourside services Fluorinert molecule is so small it goes through the membrane. Shifting to silicone oil Paul buy pumps and whatever he can’t get from craig okuda Ray is making the lids, outside shop is making the bodies. Use silicone oil instead of fluorinert Gathering pumps and compensator hats Original system wasn’t documented. Need to document Hardware is going well, chasing down some parts Working on cans Electrostatic pins, bubble wrap Ordered Ti connectors Try to put pumps down in printed part. Interferes with radius Got cables in as the go-between from the motor to the housing. Need connectors Have batteries, need to program micros. Cans passed pressure testing Re-machining base, Working on sediment trap next Need to re setup ones at sea Connectors coming in August. Have cables but not connectors Go with same pump |
| Macro system (aka shrimpoteuthis) | Pressure test? Pump helium in to test weld? Macro aiming laser Test in July 1 Min-K10 ccpl-ti- Alana owes us. Adjust focus so middle is in focus Place laser so it’s pointing in the middle of the focus area. What about te connector to the deepsea power and light battery?- after carson day Management thing took half Alana’s week Shuld Johnny test the housing? Pull out all the stuff Elevator is coming together Needs to go on elevator Just finished elevator mount, looks good Everything is working!! Taking pictures, firing strobes. Now to test using it off deep-sea power and light battery Running a test. After that, put back in can, figure out how to get focus etc. How far is face of glass port from seafloor it’s pointing at Angling next week, test focus Everything is working. Ran with battery Pressure testing housing When camera is connected through deck cable, can’t do remote shutter. Need plan for laser. 1 9V send to back endcap Parallax single laser Only need laser on at first Camera housing tested ten cycles @6000 psi. Alana has chassis and camera Then to take to the test tank add weights and balancing Talking with pilots about how to deploy and recover Weighed in tank. Leave it all on as is. Leave it near the tank if there’s space Laser is done and podded Ready, found workaround for one remaining issue Woring on documentation No more testing On Monday morning, start mission so can see it run for a few hours before it’s deployment It took hundreds of images overnight in the test tank, one dark image, packed connectors with grease, aimed laser into middle of field of view, checked the depth of field. Middle is sparpest Nitrogen purged Image size is size of target Macro camera cable nicked Elevator weight is squared away Foam blocks to level it out. D handles We’re not opening or touching, just changing aperture. Increase ISO, will not influence depth of field- ISO 100 now go up by 500 September days Hang off dock off davit frame. Shitty vis |
| Snappy | Make more snappy boards Expect a PO Not till macro is working Making more snappies After October |
| Rover export: PMEL, NOC | Sent diagram New contact of someone who can make the spheres Chafey spheres |
| Rover-SES comms | Because of poor weather on WG trip, didn’t get status on their comms. Hope for June. Is heading to Station M, should go pretty quickly and efficiently Do we focus on this during the year on land. If we deploy with new communication, it could change the mission profile. Seems risky Rover did not talk to WG today/yesterday. WG was able to range to SES Couldn’t ask Rover what its buffer was, so can’t find out about SES-Rover comms SES has ~2500 iterations in mission SES has to change its own address in order to talk with the Rover. Rover is programmed only to the listed to the surface. Rover- can’t talk to. LF works to SES but not Rover. Don’t yet have a good search pattern. Best hope if totally lost- dive and find tracks, follow. A few times have gotten runt answers from Rover. Right address, no message. They have time stamps of when sent and received. Send wave glider to that spot and try again. New ducer corrupted? Why both LF and MF are not working, it doesn’t make sense. We have spare of oldstyle LF modem Not a backup MF. MF is a directional one and less forgiving Give backup modems to Alana Waiting for input from Alana |
| Benthos modem | New modem. Don’t make the one we have now. Have a 900 series, can it send the burnwire code? Paul had zoom call with Benthos. Their engineers think the burnwire command is no longer in there, but think it might be possible to work with it. Quote for new modem and burnwire board. Paul will send them one. If they can integrate we are in great shape. Build with 9 min. NRE- New MF modem 4th generation. Deck box is 3rd generation. As long as Rich can talk through the modem that’s what matters. They will quote new AM 965 MF2- directional medium frequency head+compatible + burnwire LF ducer head. When did we replace the LF ducer head Ping benthos, need estimate We have older LF ducers? Add big one and little one. Paint, cleanup. Find something. LF transducer cable. Check Rover box |
| pH sensor | Get ready to send out on carson in September. |
| Interns | Grace published |
| Papers | Yearly-hourly- compare community structre behavior to ecological variables Larissa’s ms paper- Resubmitted |
| Rover paper | Have another draft before he goes on vacation |
| SES command center | Crissy – Go through old deployments see X full for X long How many measurements can we make per batteries? This deployment doesn’t spin as fast before taking picture to hopefully help with piling up bit. Less bunching? This year- Can modify program based on images we collected What does the rover do differently once it detects the signal from the SES. Do a 50 m transect per event. The type of event that’s two per year 2018 -Check after Carson days |
| Proposal | Proposal Phase I submitted |
| Fathomnet | Gave her benthocodon Something that auto scans for Holos upon VARS upload |
| Eye-Ris camera | Eric Orenstein October 6-15 Eric is learning how to use and service, ready to run on as many dives as we can get. Running on Sebastian, ran on rickets. How to deploy/put it out there, transects. Was on manip last time, and will be deployed. Gets back 21st and will get up meeting once he gets back |
| Nitronic thimbles | Having hard time getting. Have to go with 316 Stainless. |
| October cruise | Can take full science crew Eye-RIS Foram cages Transects Elevator with macrocam Grab respirometers Cores Recover ADCP, Redeploy ADCP pH sensors put on ROV when we go to Station M, run once before put on Rover |
| ITS | Ken to get an email from Monique |
| Personnel schedules | Crissy Last week in August Rich- Sept 24-October 1 |