| 25 August 2021 |
| --- |
| Lasers | Need correction for distortion. Center of distortion is not the center of the image. Assymetrical barrel distortion. Sendng pics to dan davis |
| Loop and Cross | Very interested and thinks it’s publishable research. But he can’t promise we’d have something by July. Paul was able to fix some code issues to improve location data Kent’s reporting to Paul today Put Rich in the loop Kent has been working a lot on that Chris is helping him try to run some code on the wave glider Kent is testing his code on SES- Phase 2 ask for 80 hours of Kent’s time. Made a lot of progress and wants to finish it. |
| Rachel Carson days September | Rich telepresence Set out precruise this/next week pH sensor- Get back from Johnny next week macrocam Will charge camera batteries and pH sensor batteries closer to day |
| Squirty | We have batteries, but they need connectors. Finished schematics Connectors coming in August. Have cables but not connectors Go with same pump Parts are made Lining manifold up with cone How deep has Kim taken that driver board? |
| Macro system (aka shrimpoteuthis) | We’re not opening or touching, just changing aperture. Increase ISO, will not influence depth of field- ISO 100 now go up by 500 September days Hang off dock off davit frame. Shitty vis, Welding on 2 d handles Make sure there’s a shot key in there and make sure battery doesn’t go in backwards |
| Solo | Sitting in front of highbay. Want to put it back together? Need to go through camera, wiring. Bring up after carson days Battery can be changed |
| Snappy | Make more snappy boards Expect a PO Not till macro is working Making more snappies After October |
| Rover export: PMEL, NOC | Sent diagram New contact of someone who can make the spheres Chafey spheres |
| Rover-SES comms | Because of poor weather on WG trip, didn’t get status on their comms. Hope for June. Is heading to Station M, should go pretty quickly and efficiently Do we focus on this during the year on land. If we deploy with new communication, it could change the mission profile. Seems risky Rover did not talk to WG today/yesterday. WG was able to range to SES Couldn’t ask Rover what its buffer was, so can’t find out about SES-Rover comms SES has ~2500 iterations in mission SES has to change its own address in order to talk with the Rover. Rover is programmed only to the listed to the surface. Rover- can’t talk to. LF works to SES but not Rover. Don’t yet have a good search pattern. Best hope if totally lost- dive and find tracks, follow. A few times have gotten runt answers from Rover. Right address, no message. They have time stamps of when sent and received. Send wave glider to that spot and try again. New ducer corrupted? Why both LF and MF are not working, it doesn’t make sense. We have spare of oldstyle LF modem Not a backup MF. MF is a directional one and less forgiving Give backup modems to Alana Waiting for input from Alana |
| Benthos modem | New modem. Don’t make the one we have now. Have a 900 series, can it send the burnwire code? Paul had zoom call with Benthos. Their engineers think the burnwire command is no longer in there, but think it might be possible to work with it. Quote for new modem and burnwire board. Paul will send them one. If they can integrate we are in great shape. Build with 9 min. NRE- New MF modem 4th generation. Deck box is 3rd generation. As long as Rich can talk through the modem that’s what matters. They will quote new AM 965 MF2- directional medium frequency head+compatible + burnwire LF ducer head. When did we replace the LF ducer head Ping benthos, need estimate We have older LF ducers? Add big one and little one. Paint, cleanup. Find something. LF transducer cable. Check Rover box Went through Rover box, didn’t find cable. Goin got make another cable. All of our transducers have had corrosion/tagged as bad. Had zoom with Benthos, going to buy standalone MF. Send burnwire board and test. All tested good. For LF- buy a PVC backed one.You can have less acoustic power from this option. But we need to try, since ew’ve tried everything else with poor results.nm means non-metal Try to talk with it at depth to make sure it’s actually ours that’s broken |
| pH sensor | Get ready to send out on carson in September. Get from Johnny next week |
| Papers | Yearly-hourly- compare community structre behavior to ecological variables Larissa’s ms paper- Resubmitted |
| Rover paper | Brett buoyancy counts Does the foam age over time |
| SES command center | Crissy – Go through old deployments see X full for X long How many measurements can we make per batteries? This deployment doesn’t spin as fast before taking picture to hopefully help with piling up bit. Less bunching? This year- Can modify program based on images we collected What does the rover do differently once it detects the signal from the SES. Do a 50 m transect per event. The type of event that’s two per year 2018 -Check after Carson days |
| Proposal | Proposal Phase I submitted Prelim feedback: Bring instruments back Concerned about new development – new development in rover chamber this fall. Can we do this at sea? Rover in refridgerated van Cameras- leave frame only in partking lot, take res off frame Make sure we do at least one inverted trap, if not two. Bridles Do we have enough mooring lines/shackles? |
| Fathomnet | Gave her benthocodon Something that auto scans for Holos upon VARS upload |
| Eye-Ris camera | Eric Orenstein October 6-15 Paul Roberts will talk with us |
| Nitronic thimbles | Working on it. |
| October cruise | Can take full science crew Eye-RIS Foram cages Transects Elevator with macrocam Grab respirometers Cores Recover ADCP, Redeploy ADCP pH sensors put on ROV when we go to Station M, run once before put on Rover |
| ITS | Ken to get an email from Monique |
| Personnel schedules | Crissy last week in August Alana- Thursday and Friday Rich- Sept 24-October 1 |