| Jan 12 2022 |
| --- |
| Lasers | Need correction for distortion. Center of distortion is not the center of the image. Assymetrical barrel distortion. Sending pics to dan davis Not doing lasers next Monday Dan has been working on data from last calibration in June- got some promising results. Measure plastic animals Nothing to report on leasure measure Finished coalating last year’s data. Need to finish composing email to Dan Davis |
| Loop and Cross | Very interested and thinks it’s publishable research. But he can’t promise we’d have something by July. Paul was able to fix some code issues to improve location data Kent’s reporting to Paul today Put Rich in the loop Kent has been working a lot on that Chris is helping him try to run some code on the wave glider Kent is testing his code on SES- Phase 2 ask for 80 hours of Kent’s time. Made a lot of progress and wants to finish it. Wait until we have targets out there Power limited Late Nov to End Feb because of low sun. Run the next time we’re out there with the glider- in End of April into mid May |
| Rover modems | MF is spare- if we get it, want to test. Sending down with LF with new ducer |
| Macro system | Testing worked. On standby until next carson deployment |
| Snappy | Make more snappy boards Expect a PO Not till macro is working Making more snappies Alana to make setup- call in Rich to finish the working product Alana to check notes Need to work out bugs of new snappy. Don’t ask |
| Rover export: PMEL, NOC | Sent diagram New contact of someone who can make the spheres Chafey spheres After cruise |
| Cruise | About a week/week and a half to get ready: Rover SES Formalin mooring (w or w/out Dualie) ADCP. Recover foram box at same time? EyeRIS? ESP |
| SES prep | Use 50/50 mix (DI/95% ethanol). Filter both with special filters. Need to verify that the motor we want to replace is going to be the same amount of gear counts. Can Rich and Paul do that while we’re gone? Its connector is not compatible with the SES. Cut and reterminate. Measure carousel and gears to see if it’s the same. Don’t have serial number on SES motor controller Connector has to be done |
| Rover troubleshooting | LF needs to be loaded MF – has it shipped? – check. What if it doesn’t show up? Just go with one. If it doesn’t work, then we’ll need to pull release pin with ROV UDB and ducer- where are they? Getting cables, junction box stuff from tim shed. Spare j box has not been tested. Will need to fix bad j box, do we have more re-enterable. Spare has not been filled with re-enterable compound. Johnny is thinking of a filled one. Lots of mysteries? Jose is working on replacement optode cables. Found corrosion on fluormeter camera, Cable was in question, but Johnny think’s it’s okay. |
| Releases, sediment trap controllers, pH sensors | On Johnny’s bench like before Controllers still on sediment traps and those are in the high bay Squirty. If those are on, then put controllers and housings on. |
| Rover, SES comms | Bring MF dunker, make sure davit works Make sure we have the black line |
| Dualie | Camera settings? Near field- mount on frame without sealing housing to allow checking of settings. Good to go once we change the battery |
| pH sensor | Buy one or two more |
| Papers | Larissa’s ms paper Oxygen –ask Henry to evaluate PAP data- FRAM Yearly-hourly- compare community structre behavior to ecological variables- Later |
| ITS | Ken to get an email from Monique |
| Current meter for macro cam | FSI- current meter |
| Future of Station M | Meeting with Colleen, Henry, Jeff Drazen, Tim Shaw, Ken, Crissy |
| Wave glider | Ideally test Rover once it’s deployed. Ideally get down there by 2 Feb. Power limited due to reduction in solar power, especially if we’re running the modem. Hopefully we can deploy the Rover on the 2nd - Aim to arrive 2 Feb - Late April/early May - Late July/early Aug - After Canon. Leave Canon on 12 Sept, then be at Station M by the 19th of September |
| Colleen | Working on getting Cindy’s paper’s accepted Sebastian- Formalin –fixed material Have method to test – 1ML. Representative. Not much |
| Personnel schedules | Rich is out the last week in January. Tahoe. Could test Rover from there Crissy- April some time |