| Jan 19 2022 |
| --- |
| Lasers | Need correction for distortion. Center of distortion is not the center of the image. Assymetrical barrel distortion. Sending pics to dan davis Not doing lasers next Monday Dan has been working on data from last calibration in June- got some promising results. Measure plastic animals Nothing to report on leasure measure Finished coalating last year’s data. Need to finish composing email to Dan Davis |
| Loop and Cross | Very interested and thinks it’s publishable research. But he can’t promise we’d have something by July. Paul was able to fix some code issues to improve location data Kent’s reporting to Paul today Put Rich in the loop Kent has been working a lot on that Chris is helping him try to run some code on the wave glider Kent is testing his code on SES- Phase 2 ask for 80 hours of Kent’s time. Made a lot of progress and wants to finish it. Wait until we have targets out there Power limited Late Nov to End Feb because of low sun. Run the next time we’re out there with the glider- in End of April into mid May |
| Rover modems | MF is spare- if we get it, want to test. LF modem works in air |
| Macro system | Testing worked. On standby until next carson deployment |
| Snappy | Make more snappy boards Expect a PO Not till macro is working Making more snappies Alana to make setup- call in Rich to finish the working product Alana to check notes Need to work out bugs of new snappy. Don’t ask |
| Rover export: PMEL, NOC | Sent diagram New contact of someone who can make the spheres Chafey spheres After cruise |
| Cruise | About a week/week and a half to get ready: Rover SES Formalin mooring (w or w/out Dualie) ADCP. Recover foram box at same time? Load light stuff next Thursday. Big lifting next Friday |
| SES prep | Figure out motor. Connector has to be done |
| Rover troubleshooting | Test tank worked just fine. Looks good and is ready for sea. Except for the modem. Change batteries on bigger beacons. |
| Releases, sediment trap controllers, pH sensors | Releases- need to test Sed trap controllers- one not talking.Paul to check it? Or don’t we have a third trap in the container? Test those this afternoon |
| Rover, SES comms | Bring MF dunker, make sure davit works Make sure we have the black line |
| Dualie | Dualie battery is not mounted yet but will be soon. Gonna pull everything out in next day or so. Possibly test Friday or Monday. |
| pH sensor | Buy one or two more |
| Papers | Larissa’s ms paper Oxygen –ask Henry to evaluate PAP data- FRAM Yearly-hourly- compare community structre behavior to ecological variables- Later |
| ITS | Ken to get an email from Monique |
| Lines | Ken and Johnny to go over. |
| Current meter for macro cam | FSI- current meter |
| Future of Station M | Meeting with Colleen, Henry, Jeff Drazen, Tim Shaw, Ken, Crissy |
| Wave glider | Ideally test Rover once it’s deployed. Ideally get down there by 2 Feb. Power limited due to reduction in solar power, especially if we’re running the modem. Hopefully we can deploy the Rover on the 2nd - Aim to arrive 2 Feb - Late April/early May - Late July/early Aug - After Canon. Leave Canon on 12 Sept, then be at Station M by the 19th of September |
| Colleen | Working on getting Cindy’s paper’s accepted Sebastian- Formalin –fixed material Have method to test – 1ML. Representative. Not much |
| Personnel schedules | Rich is out the last week in January. Tahoe. Could test Rover from there Crissy- April some time |