| June 22, 2022 |
| --- |
| Laser measure | Duane and dan met, will meet and go over code. Within 10% Matlab- site license for all. Matlab and laser measure running. Checking calibrations |
| Laser is back from Barry lab | Mounted and aimed |
| Loop and Cross | Went well. Do it again in September, have enough to write it up. |
| Macro system | Up and running, Tested all pieces of it. Overnight test of pic every five minutes, worked great. Positioned the laser. It took the battery a very long time to charge. Try to top off before leave. Changes that could make it easier. Make it an external battery. Can do every four minutes. It takes long enough to wake up that it might not be practical to have pic every minute or two. Overhead is about 30 seconds for wake up Didn’t touch the camera. Clear SD card and verify settings are the same VHF beacon and strobe. Paul to check them today |
| Cruise | More graham crackers Cherries |
| Papers | Larissa’s ms paper Oxygen –ask Henry to evaluate PAP data- FRAM Yearly-hourly- compare community structre behavior to ecological variables- Later |
| Carson days June | Fine to put eyeris and D samplers on Alana- Reprogram lights for macrocam Take POC measurements too Paul has recharged but has to trickle charge Eric-Eye-RIS Grace 5:30 for six Bring our UDB and check the one on the Carson Check on weights for elevator Take a spare |
| September cruise personnel | Ken Colleen-Crissy Rich-Johnny Paul-Henry Erich R and Eric Orenstein Larissa- ROV pilot |
| Proposals | SES_ Software- Rich lead engineer Pelagic Benthic Coupling- How much time will it take to put Ask for $ to write papers Mati $ to work on papers Engineering time in to write this up Write papers or to document stuff for others -Loop and Cross -Inverted trap vs standard if everything works -SES as command center the year after Document Rover and SES mechanical documentation, software, and analysis, how to turnover (download data, change batteries, configure and redeploy), and maintain the instruments -SES as command center What’s the plan for the tripods? Take apart and put together? Store in Castroville inside? Benthocodon Yearly paper Adding some usability to SES- tool to write a config file John’s time in 2023 |
| September cruise Science | Recover everything Iris Try to collect larvacean houses in D-samplers to do DNA sequences Collect aggregates on the seafloor |
| Rover/SES comms | Proof of concept the two communicating with each other Range to rover wakes it up. Device enable line is not working correctly |
| Grace | Making plots |
| Sachithma | Working on getting software running |
| Personnel schedules | Paul- June 29-July 14 Rich- July 6-18 Rich- August 30-Sept 16 Ken- July 4-12 Alana- July 22-Aug 2 Crissy- Labor day week Paul- Aug 28-Sept 5th Colleen 14-24 June arpa-E, then ocb (woods hole) |