	Feb 1, 2023

	Loop and Cross
	Trying to get Kent spun up on a paper

	SES
	Found bad connector to hall sensor. Was position dependent. Have replacement parts, cable should be in this week
Motor- cobbled together parts. New motor arrived yesterday. Have one to deploy and one spare. Then test.
Haven’t gotten into battery sphere yet.  Back in the high bay again.
Round floats for autonomous deployment
Ask Paul C who we should ask about to fill in for Johnny
Triggerable McLane trap- Paul. How deep, data sheet?

	Loan
	Loaned a 4 float pack to Randy (1 floatpack with 4 floats)

	Container G
	Combo is 1909. Most of sediment traps are in there. 

	Helper hire
	Start on this after DC

	Testing modem 
	More complicated than we’d hoped. Modems are acting odd
Rich will meet at 4 pm to continue testing
Firmware is different from that with secret commands. Need new secret commands
ATM1 and ATM0

	POs-
	Cancel iridium account
Just keep the two argos beacons 

	Rover
	Just need to test and make sure everything works again with the fuse replaced. RAP- get back to troubleshooting
Think might get to it Thursday

	Tripods
	Paul M and Alana unplug/dummy everything off.
Tripod frames to Castroville, put cameras and strobes in tin shed. Take pics then take syntactic foam off and store inside, then store frames outside. Color code.
Paul C. just got checked out on crane. He wanted to put new tech on this.

	Where to put stuff- This stuff done?
	Macrocam- Moved
Current meter into rover lab.
Batteries in SES modem

	ARPA-E
	Done – pending further info and talking with McLane
Rich and Paul- when they have the zoom, add the question about whether they want to commercialize the SES
[bookmark: _GoBack]Colleen will talk with Chris Scholin about what we need to do

	SES image processing
	Can make more of other images we haven’t published on yet
Converting all to open cv
OpenCV (open computer vision) C++ plus python wrappers. Runs faster. Computer vision library of functions for imaging processing and analysis
Came up with Snowcam solution and will try to apply it to SES pics
For triggerable trap- could do WG or LRAUV- test acoustics emit from the program
Deep sea connect- is there anything we could plug into?
Don’t need power. Is there something that’s just ethernet or can we piggyback on someone else’s instrument via Deep Sea connect/ethernet? Short range wifi
Crissy to send everyone the pulse datasets from other instruments

	Paper
	Formatting supplemental figs

	T-shirts
	Pulse- Logo on back and little map on back
“abyssal vigilance”
Coastline/map/instrumentation suite 
Black background
Trophy of Rover
Medal for Alana- 20th

	SES purchases
	Benthos 6000 m. LF. Need a target modem
Need logging capability. Can receive and keep the message
Omnidirectional? 
Need new electronics board

	Eye-ris
	Eric is working on it. 
Need to troubleshoot an aspect of data processing when pulling off of instrument 

	Digitizing
	Almost done digitizing `benthocodon and detrital aggregates

	Personnel schedules
	Crissy 8-9 Feb
Paul- Texas for family wedding. April 26th-Drive back with Patsy May 3rd back. Make sure SES is ready before April 26th. 
ALSO- June 



