	Feb 15, 2023

	Loop and Cross
	Trying to get Kent spun up on a paper

	SES
	Found bad connector to hall sensor. Was position dependent. Have replacement parts, cable should be in this week
Motor- cobbled together parts. New motor arrived yesterday. Have one to deploy and one spare. Then test.
Haven’t gotten into battery sphere yet.  Back in the high bay again.
Round floats for autonomous deployment
Ask Paul C who we should ask about to fill in for Johnny
Triggerable McLane trap- Paul. How deep, data sheet?

	Loan
	Loaned a 4 float pack to Randy (1 floatpack with 4 floats)

	Container G
	Combo is 1909. Most of sediment traps are in there. 
Went to Randy, who couldn’t find the van. Took foam blocks out of cage.
G is the lab’s insulated van. But where are the syntactic foam blocks?
Put the stuff from the van into the tin shed and then put the rover in the van. Maybe Eric Fitzgerald knows something
Ken to look into how much it’ll cost to get a 20 ft van

	Helper hire
	Start on this after DC

	Testing modem 
	More complicated than we’d hoped. Modems are acting odd
Rich will meet at 4 pm to continue testing
Firmware is different from that with secret commands. Need new secret commands
ATM1 and ATM0
Rich is having a hard time getting it to work. This is the new one. UDB works. Did Benthos even test this before they sent it to us?

	Rover
	Just need to test and make sure everything works again with the fuse replaced. RAP- get back to troubleshooting
Think might get to it Thursday
Paul ordered fuse but waiting to get it
Failed optode caused main fuse in optodes to blow, caused all optodes to blow. Paul and Alana changing fuses so only one fuse /optode would blow. In testing, two optodes weren’t working. Fuses had too much resistance and voltage dropped. Don’t want the optode getting too much juice or it’ll heat up and this makes measurements drift. 

	Tripods
	Paul M and Alana unplug/dummy everything off.
Tripod frames to Castroville, put cameras and strobes in tin shed. Take pics then take syntactic foam off and store inside, then store frames outside. Color code.
Paul C. just got checked out on crane. He wanted to put new tech on this.

	Where to put stuff- This stuff done?
	Macrocam- Moved
Current meter into rover lab.
Batteries in SES modem

	ARPA-E
	Done – pending further info and talking with McLane
Rich and Paul- when they have the zoom, add the question about whether they want to commercialize the SES
Colleen will talk with Chris Scholin about what we need to do

	SES image processing
	Can make more of other images we haven’t published on yet
Converting all to open cv
OpenCV (open computer vision) C++ plus python wrappers. Runs faster. Computer vision library of functions for imaging processing and analysis
Came up with Snowcam solution and will try to apply it to SES pics
For triggerable trap- could do WG or LRAUV- test acoustics emit from the program
Deep sea connect- is there anything we could plug into?
Don’t need power. Is there something that’s just ethernet or can we piggyback on someone else’s instrument via Deep Sea connect/ethernet? Short range wifi
Crissy to send everyone the pulse datasets from other instruments

	Paper
	Waiting to hear from PAP

	ALSO 2023
	Paul- Rover fluorescence. 
Crissy- Station M oxygen

	T-shirts
	Pulse- Logo on back and little map on back
“abyssal vigilance”
Coastline/map/instrumentation suite 
Black background
Trophy of Rover
Medal for Alana- 20th

	SES purchases
	Benthos 6000 m. LF. Need a target modem
Need logging capability. Can receive and keep the message
Omnidirectional? 
Need new electronics board
Getting new ME tech 

	Eye-ris
	Improved methods for calibrating volume. Eric will reprocess so it’s well constrained and accurate. There were big blurry particles that were super close and causing problems 

	Oxygen paper
	Waiting to hear from PAP and others

	Sediment trap sample processing
	Centrifuge is broken, but proceeding anyway

	Digitizing
	Almost done digitizing `benthocodon and detrital aggregates

	Personnel schedules
	Paul- Texas for family wedding. April 26th-Drive back with Patsy May 3rd back. Make sure SES is ready before April 26th. 
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