| Jan 18, 2023 |
| --- |
| Laser measure website done! |
| Loop and Cross | Trying to get Kent spun up on a paper |
| SES | Found bad connector to hall sensor. Was position dependent. Have replacement parts, cable should be in this week Motor- cobbled together parts. New motor arrived yesterday. Have one to deploy and one spare. Then test. Haven’t gotten into battery sphere yet. Back in the high bay again. Round floats for autonomous deployment Ask Paul C who we should ask about to fill in for Johnny Triggerable McLane trap- Paul. How deep, data sheet? |
| Loan | Loaned a 4 float pack to Randy (1 floatpack with 4 floats) |
| Container G | Combo is 1909. Most of sediment traps are in there. |
| Helper hire | Start on this after DC |
| Testing modem | James has all the pieces. It’s on his list |
| POs- | Cancel iridium account Just keep the two argos beacons |
| Rover | Just need to test and make sure everything works again with the fuse replaced. RAP- get back to troubleshooting |
| Tripods | Paul and Alana unplug/dummy everything off. Waiting for Zarges boxes Get Frank to help take apart Tripod frames to Castroville, put cameras and strobes in tin shed. Wiating for the crane to be certified |
| Where to put stuff- This stuff done? | Macrocam- remove battery put in rover lab. Camera/frame in container. Current meter into rover lab. Batteries in SES modem |
| ARPA-E | To DC- make poster and lightning talk |
| SES image processing | Can make more of other images we haven’t published on yet Converting all to open cv OpenCV (open computer vision) C++ plus python wrappers. Runs faster. Computer vision library of functions for imaging processing and analysis Came up with Snowcam solution and will try to apply it to SES pics For triggerable trap- could do WG or LRAUV- test acoustics emit from the program Deep sea connect- is there anything we could plug into? Don’t need power. Is there something that’s just ethernet or can we piggyback on someone else’s instrument via Deep Sea connect/ethernet? Short range wifi |
| Paper | Stepwise regressions |
| T-shirts | Pulse- Logo on back and little map on back “abyssal vigilance” Coastline/map/instrumentation suite Black background Trophy of Rover Medal for Alana- 20th |
| SES purchases | Benthos 6000 m. LF. Need a target modem Need logging capability. Can receive and keep the message Ask Bret. |
| Eye-ris | Eric is working on it Ground fault was eye-ris |
| Personnel schedules | Crissy- 24-26 Jan, 8-9 Feb Rich out next week ALSO- June |