MBARI_ID
the key

SSDS ID
entered when available (100/207)

Technician
always 'pc'

Manufacturer
13 unique

Type
26 unique

Model
~65 unique, consistent data; sometimes embedded commas (#36,93,124...)

Serial
always present

FullSerial
present if available

Calibration organization
17 entries, several duplicates or subsets (calib. person)

Features
mix of feature, config, and log info

Pressure sensor
40% filled in

Depth Rating
50% filled in

Firmware/EPROM
30% filled in

Memory
10%

--- RELEASE INFO:

Receive frequency

Transmit frequency

Enable code

Release code

Tilt option

---

Purchased for
8 unique

Owner
21+ unique

Custodian
15+ unique, some dual entries

Date new
57 entered

PO
20 entered thru 05

Transaction
2 entered (relates to PO)

Permanent comment
many comments, most are not permanent

manufacture web page
about 10 entered

document dir
not used

Trans Table Analysis

ID
key

MBARI ID
foreign key in instrument table

Date

Location
primary location (MBARI or a mooring), but sometimes just 'lab'

LocationB
secondary location (lab or location on mooring, sometimes 'cabinet')

Status
over 100, not normalized, always described

Calibration date
last is 12/05, about 30 are backwards with next

Calibrations performed
free text, about 25 unique (40 entered)

Service date
40 entered

Service organization
about 15 unique

Service performed
short list

Detail
sometimes points to detail

Transaction
deployments, recoveries, organizational changes, activities (installed batteries); always entered

Deployment prep
which deployment was this beign prepared for? (free text)

old_id
a previous transaction ID

