LP1 notes from Paul
1) Sampled at 128.5 Hz

2) Filtered at 33.9 Hz with a 4 pole Butterworth filter with 24dB per octave roll-off.

