
FOCE Team Mtg -- 12/06

Present: WJK, TM, RH, KH, PMW, TO'R, JS, FS, KS, ETP & CK.

Steve Widdcombe won proposal; will be visiting us next year.

J-P Gattuso passed first hurdle in proposal process; proceeding with full submission.

pH sensors:

  - SeaBird will not be in production in time for next deployment: will need to make our own some how!?

  - Production of others for Morea at same time?

  - Other items for Stanford?

  - Conference today with Jon E re housing designs.

Discussion about causes of corrosion found on frame, connectors, Ti housing zincs, etc.

  - possible ground fault.

  - some rust on 5 powered pH sensors; no rust on unpowered sensor.

  - did un-powered sensor flood?

  - which comp ran-out? motors or tension-damperers?

Chad is working on a power scale analysis.

Chad is also working on the electronics for the new CO2 delivery system:

  - peristaltic pump drive issues are being solved.

  - need to avoid magnetic decouplings since motors act as meters for CO2 delivery.

  - valves will be added to main FOCE frame for controlling delivery.

Sealing issues for closed-loop experiments:

  - how sealed is sealed?

  - chamber within chamber experiments.

  - guillotine door closures.

Improved imaging applications and how they might be useful.

Poster is in progress; hopefully a draft later today and will work from there...

Poster session is first session on Tuesday at AGU.

  - Bill is in charge of planning lunch.


