
FOCE Team Mtg -- 1/24

Present: CK, TO'R, JS, PGB, ETP, KH, RH, TM & WJK.

Chad's visit to Stanford:

  - Concern about the engineering of the Stanford / Hopkins cable node.

  - Plan to draw up collaborative agreement w Stanford for co-development.

  - PGB working on permit agreement.

Jim Barry's request for upgrades:

  - Chad to talk w Jim or Chris to find out about cameras.

  - Jim B. talking up FOCE at IPCC meeting.

  - Jim S. & Peter or Ed to meet with Chris or Jim to get dimensions & other requirements for "bio-control chambers."

Shop moving ahead with fabrication for CO2- box.

TM & pH probes:

  - Jose moving ahead with fabrication.

  - Peter W has ordered some new sensors & electrodes from Seabird.

Chad:

  - Electronics for CO2 box moving ahead.

  - Will write up specs for software control.

Bob H:

  - Working on de-bugging Data Turbine issues with lab based instrument.

  - Was not able to duplicate failure but could force failure by tweaking memory allocations.

  - Seeking solutions assuming that this was the issue by working w DT authors.

ETP working with Duane to get more of Danelle's time to work on pHprobeWorkBench adaptations.

Jim S working on finding suitable tubing for peristaltic pumps.

PGB reports that worldwide interest in Ocean Acidification has reached highest government levels:

  - No more flag waving papers on potential dangers of OA,

  - Now they want peer-reviewed papers with DATA!


