
FOCE Team Mtg -- 3/21

Present: CK, KS,JS, RH, TM, KH, PMW, ETP & WJK.

Before the meeting started, 

  - Chad took delight in teasing the gui programmer.
  - RH did his best to get "voted off the island."
WJK arrived and called the meeting to order: good luck with that...

Plans for a FOCE deployment off Plymouth, England, are proceeding with Stephen Widdicombe.

Chad has agreed to take the lead on the Oceans paper for the September Kona, HI mtg.

Farley is pressure testing new pressure case for CO2 System.

Chad has been conducting component testing tank-side...

  - Camera out for repair; due back Wed/Thu.

Software:

  - Utility/service to control valves ready for testing later today.

  - SIAM build almost one year old; need to "re-build?"
  - Data Turbine to export all data to shore-side system for user access so it doesn't crash the system.
Need a plan to test vector in test tank to check for electrical noise.

Software (part two):

  - Kent working on motor control service.

  - Kent working on CO2 System service.

  - Kent needs to get back to control loop service.

Kent asking about start-up protocols

  - Will need a check list.

  - Will need to set default positions on valves, pumps, etc.

  - Stand-by mode for system monitoring when CO2is not being supplied.

Kent wants to know what signals to monitor and save...

There will be a learning curve for setting the various control system parameters...

Thom has all but one pH sensors ready for calibration / deployment.

  - Need to add a safety fuse on pH7 circuit / one-time slow-blow.

  - Can run without this input.

Timeline to get buttoned-up and in-the-water: Thu at best... ?

pH sensors will be calibrated 3/28 @ 13:00 PDT.

