
FOCE Team Mtg -- 3/28

Present: CK, RH, JS, KH, PMW, PGB, ETP, TO'R, KS & WJK.

Chad:

  - Camera repaired and returned.

  - Light failed & replacement ordered. Due tomorrow.

  - During testing, there was a fire in the valve box when the tantalum capacitors failed.

      - Were the wrong capacitor's installed or was the wrong rating specified?

      - Did we get a bad batch of capacitors?

      - Otherwise, the valve board is functioning...

Bill K:

  - Is it time to get our ship time re-scheduled?

  - We need more testing time and are already behind schedule...

PGB agrees; he will talk with Etch.  Minimum of 4 weeks wanted to complete assembly of FOCE.

  - We will work within the time allotted to make this happen!  (WJK).

Bill K:

  - Press-on as if no schedule modification, but do all the testing required.

  - Thom wants to move pH probe calibration to later in the week.  Team OK with that.

  - Peter Walz and I will probably do the pH calibration on Thursday of this week.

Jim S:

  - Status of CO2 box = "coming together."

  - Hardware parts are done, some assembly required...

PGB & WJK meeting with folks at Hopkins regarding permits for HMS cabled observatory.

ETP working on poster for Sanctuary Symposium on 4/9.


