
FOCE Team Mtg -- 4/04

Present: CK, JS, RH, PMW, PGB, FS, KH, ETP & WJK.

FOCE is in the test tank and running!

It turns out we do not need to vacate the test tank area for the Chinese after 4/15; we just need to move to the far end to get out of their way.

Tests to be done:

  - Verify position of all instruments.

  - Verify operation and labelling of the valves.

  - Verify pumping rates of peri-staltic pumps.

  - Verify that all software services are working.

Etp is keeping an event log during testing

  - send him an email with testing events and times and he will enter it into the log.

  - phonecalls work just as well.

Deployment of hardware from the Western Flyer on May 4 & 5.

Permit application document for Hopkins MS:

  - Big holes in the details / Hopkins folks even less clear on the details.

  - PGB will lead effort to compile the application documents.

  - The rest of us will be pinged-on for details for various sections.

  - CLARITY on these items is essential.

Bob H:

  - Valve software ran all weekend without errors.

  - Still has some Data Turbine work to do.

  - GUI may be turning off CO2 system.

Jim S:

  - Need to fix comp line on cable to the CO2 pump.

Need a way to protect ESW line from over-pressurization if both valves are closed.

  - many options were suggested.

  - none were acceptable to all parties.

  - it was decided to look at the mechanical options while we have the system onshore.


