
FOCE Team Mtg -- 5/09

Present: CK, RH, JS, PGB, KH, FS, TO'R, PMW TM & ETP.

David Kline is at Scripps now and looking for help from us.

Folks at COS have finally realized that SW-FOCE is a reality and they need to do something...

  - PGB is in voice (not email) contact with Meg Caldwell.

  - She is working with Mike Sutton (MBA) to make some personal contacts at the various commissions (Coastal, Fish & Game) to move the permitting process ahead.

  - We will see how things go...

CO2 deployment cruise is May 18th:

  - PMW needs to install cooling coils in 2 CO2 ACCs; could use some mech eng/tech help.
  - After that he has to start on the plumbing, etc., for the toolsled...

Etp FOCE report:

  - Deployment on Wed & THU of last week went very well.

  - FOCE is working well and is easily controlled with GUI, etc.

  - Beginning Wed, have been making daily offset corrections on pH sensors:

      - all pH sensors tightly clustered: uniform response from sensors.

      - offset corrections have diminished with time: pH sensors settling down nicely.

      - span between highest and lowest pH sensors is getting smaller: pH sensor drift is converging.

      - all signs that the ph sensors will be ready and in prime condition for CO2 deployment next week.

  - Some minor issues with the GUI:

      - on the CO2 Subsys page, pH-calc is plotted and we need the corrected pH values
      - for the motors, the Set velocity windows is showing actual velocity, not the set-point.

  - Conductivity sensor on CTD #2 (External) is having problems:

      - Initially, both CTD conductivity sensors read the same value within 0.0030 mS/cm.
      - On Friday night ~9 PM PST (0400 GMT 5/07), the salinity determined from CTD #2 dropped abruptly and continued dropping for the next 12-14 hours.  It no longer agrees with CTD #1.  Fouling of the sensor is suspected but we won’t know until we get a look at it on 5/18.
      - Meanwhile, both temperature and oxygen sensors on the CTDs continue to agree very well.

Chad working with Brock on testing their node prior to deployment

  - needs a place to store the spool for their cable

  - electronics will be stored in the FOCE lab

Next Monday plan CO2 deployment:

  - tasks list: things to test, what order, etc.

  - make assignments: who does what

  - what papers do we want to write

SW-FOCE engineerinng planning

  - start thinking of what we need in terms of mechanical framework

  - what instruments do we need

PGB started the discussion on what papers we will want to write:

  - engineering development of FOCE

  - science results

FOCE barbeque day proposed: many team members liked the idea.

