
FOCE Team Mtg -- 10/10

Present:  WJK, JS, CK, KS, RH, PMW, KH, FS, GM, PGB, JB & ETP.

NEWS updates:

  - Peter Brewer was in Santa Barbara last week for an IPCC chapter writing committee meeting.

  - NSF issued a call for proposals on OA and in situ “FACE-like” experiments.

PAPER WRITING:

  - LRS review.

  - pH sensor paper.

  - FOCE design and operations.

  - Software infra-structure.

FOCE status:

  - hardware performing as always:

       - some motor stoppages but motorWatch restarting them.

      - pH of CO2-ESW rising slightly: evidence of low supply?
  - effort to revise USB port was unsuccessful; probably a blown fuse.
SW-FOCE:

  - update on SW-FOCE requested for board meeting.

  - status of permit application unknown - waiting to hear from Mandy.

  - could be our last opportunity for major design revision; we should focus on making it exportable.

      - low cost

      - simple design

      - easy to operate

      - robust data collection and management

SW-FOCE concept design from Farley:

  - modular: center section with tubes extending in opposite directions.

  - 22 foot long delay section to allow for CO2 system equilibrium.

  - after much discussion, the design was approved for the over-winter test deployment.

Next Meeting: 10/17.


