
FOCE Team Mtg -- 11/14

Present:  CK, JS, TO'R, KS, TM, KH, FS & ETP.

Bill K is in China visiting Xin Zhang; Peter B is on a long-distance phone –call.

Kent H reports that they are making progress on the FOCE requirements document.

Karen S has a copy of the AGU poster in the tempbox.

 - Next week will be a short week, so let's get stuff to Karen this week ASAP.

Kent H reported on the first results from the closed loop software testing.

  - Making good progress with "closing the loop" on pH feedback control.

  - pH control by varying the ESWpump speed in response to current velocity is working.

  - Biggest problem is that the flow through the flume goes so slow that we go below the minimum rpm for the ESWpump; it stops, and we have to start all over again when the flow resumes.  So far, we have not had a period where the flow through the flume was fast enough for closed loop control to occur.
Shallow-water FOCE:

  - still planning on a post Thanksgiving deployment either 11/28-12/2 or 12/12-16.

  - still waiting on our permits from CFG & CCC.

  - all instruments are in-hand and ready for deployment.

  - need to do a parking lot "deployment" where we layout everything and see how it goes together (or not).

  - will use a shorter section of tubing on each end than actually planned for the real deployment..

Next Meeting: 11/28.


