## Slide 1: Lasers, Lights, and Phytoplankton: Laboratory Calibration of Optical Sensors from Autonomous Underwater Vehicles
Diane Wyse
14 August 2013
Mentor: Dr Jim Bellingham
Monterey Bay Aquarium Research Institute

## Slide 2: Outline
Background
Questions
Instruments
Methods
Data and Results
Discussion
Conclusion

## Slide 3: Background
Plankton community succession
HABs – understanding community composition…predictive modeling
Sensor calibration
  Why? Laboratory calibration for better analysis of in situ data sets…via organism ID, to inform instrument selection/arrangement for deployments based upon targeted organism or class.

## Slide 4: Questions
Can we use bench-top laboratory instruments to ground-truth sensors deployed on autonomous underwater vehicles?
What is the relationship between the instruments? (cells/mL comparison)
Can we identify organism signatures, and if so what are they?
  Using monocultures of phytoplankton grown in a laboratory setting

## Slide 5: Instruments
ECO puck
10AU Fluorometer
LISST-100X
Accuri flow cytometer
Epifluorescence microscope
Notes: Image of ECO puck w/bench top set up
Image of AU10 in Live culture rm
LISST-100 bench top set up
Jian’s pic of D & Accuri

## Slide 6: Methods
Raise two species of phytoplankton
  Micromonas sp.
  Heterosigma akashiwo
Run three concentrations of TruCount beads (4.2 um):
  A: 50
  B: 250
  C: 1008
Notes: Include images of each plankter!
Micrographs for days…

## Slide 7: Micromonas sp.

## Slide 8: Heterosigma askashiwo
Notes: Heterosigma: largest cell size of organisms in this study (18-34 um), HAB species – fish-killing—blocks their gills.
For comparison, Psuedo-nitzschia is

## Slide 9
Chart: Wet Labs vs MBARI LRAUV Lab Dark Counts
| 45 | 30 | 46
31 Jul, New chamber | 48.9189 | 39.8649 | 51.0541
25 Jul cylindrical chamber | 49.4521 | 39.1918 | 48.6301

## Slide 10
Chart: TruCount Beads with Ring Number
TruCount A - 145.6 beads/mL | 656.434 | 147.396 | 218.706 | 453.818 | 80.614 | 44.764 | 47.8 | 50.566 | 39.526 | 44.97 | 39.796 | 44.698 | 45.498 | 51.626 | 60.852 | 54.198 | 59.77 | 46.876 | 62.236 | 46.668 | 62.726 | 49.146 | 83.86 | 38.618 | 56.542 | 33.02 | 36.05 | 31.522 | 34.824 | 29.974 | 11.55 | 6.19
TruCount B - 145.6 beads/mL | 645.74 | 43.792 | 54 | 136.706 | 66.082 | 35.014 | 35.836 | 39.84 | 35.096 | 40.626 | 38.104 | 42.232 | 45.012 | 51.378 | 61.396 | 55.466 | 60.732 | 48.046 | 63.512 | 49.808 | 64.602 | 52.794 | 87.18 | 41.668 | 58.806 | 34.83 | 36.076 | 31.328 | 33.326 | 28.75 | 9.808 | 5.23
TruCount C - 145.6 beads/mL | 806.7647 | 1405.9608 | 806.7647 | 523.902 | 93.0392 | 126.2745 | 81.098 | 59.8824 | 48.7255 | 48.3529 | 45.6667 | 48.7647 | 52.0196 | 58.2745 | 70.5098 | 65.3333 | 72.8039 | 63.6471 | 80.5882 | 71.8627 | 87.4118 | 83.7647 | 125.9804 | 69.7451 | 91.0196 | 56.2941 | 55.2745 | 45.1569 | 44.4118 | 37.6275 | 16.2941 | 9.8627
Notes: Include growth curves (fluorometer) of each species?
ECO Puck data plots
LISST-100X: plots of particle size distribution with particle size
Flow cytometer cytograph for Micromonas, TruCount control beads

## Slide 11
Chart: TruCount Beads with Median Spherical Particle Size
| 230 | 195 | 165 | 140 | 119 | 101 | 85.2 | 72.2 | 61.2 | 51.9 | 43.9 | 37.200000000000003 | 31.6 | 26.7 | 22.7 | 19.2 | 16.3 | 13.8 | 11.7 | 9.9 | 8.39 | 7.11 | 6.03 | 5.1100000000000003 | 4.33 | 3.67 | 3.11 | 2.63 | 2.23 | 1.89 | 1.6 | 1.36
TruCount A - 145.6 beads/mL | 656.434 | 147.396 | 218.706 | 453.818 | 80.614 | 44.764 | 47.8 | 50.566 | 39.526 | 44.97 | 39.796 | 44.698 | 45.498 | 51.626 | 60.852 | 54.198 | 59.77 | 46.876 | 62.236 | 46.668 | 62.726 | 49.146 | 83.86 | 38.618 | 56.542 | 33.02 | 36.05 | 31.522 | 34.824 | 29.974 | 11.55 | 6.19
TruCount B - 145.6 beads/mL | 645.74 | 43.792 | 54 | 136.706 | 66.082 | 35.014 | 35.836 | 39.84 | 35.096 | 40.626 | 38.104 | 42.232 | 45.012 | 51.378 | 61.396 | 55.466 | 60.732 | 48.046 | 63.512 | 49.808 | 64.602 | 52.794 | 87.18 | 41.668 | 58.806 | 34.83 | 36.076 | 31.328 | 33.326 | 28.75 | 9.808 | 5.23
TruCount C - 145.6 beads/mL | 806.7647 | 1405.9608 | 806.7647 | 523.902 | 93.0392 | 126.2745 | 81.098 | 59.8824 | 48.7255 | 48.3529 | 45.6667 | 48.7647 | 52.0196 | 58.2745 | 70.5098 | 65.3333 | 72.8039 | 63.6471 | 80.5882 | 71.8627 | 87.4118 | 83.7647 | 125.9804 | 69.7451 | 91.0196 | 56.2941 | 55.2745 | 45.1569 | 44.4118 | 37.6275 | 16.2941 | 9.8627

## Slide 12
Chart: TruCount Particle Size Distribution
| 230 | 195 | 165 | 140 | 119 | 101 | 85.2 | 72.2 | 61.2 | 51.9 | 43.9 | 37.200000000000003 | 31.6 | 26.7 | 22.7 | 19.2 | 16.3 | 13.8 | 11.7 | 9.9 | 8.39 | 7.11 | 6.03 | 5.1100000000000003 | 4.33 | 3.67 | 3.11 | 2.63 | 2.23 | 1.89 | 1.6 | 1.36
TruCounts A fASW blank | 23.584 | 33.864 | 27.142 | 30.298 | 25.068 | 31.046 | 29.644 | 33.666 | 31.406 | 38.098 | 35.676 | 40.212 | 43.282 | 48.69 | 59.062 | 51.932 | 57.612 | 43.882 | 60.004 | 42.978 | 60.404 | 44.362 | 79.788 | 34.002 | 51.372 | 29.074 | 31.2 | 27.61 | 30.292 | 26.134 | 8.022 | 4.142
TruCounts A2 [49.5 cells/mL] | 323.91 | 196.558 | 227.536 | 156.364 | 49.572 | 41.832 | 46.224 | 40.536 | 37.998 | 40.974 | 39.352 | 42.448 | 44.972 | 50.378 | 60.264 | 52.978 | 58.394 | 45.306 | 61.306 | 44.682 | 61.616 | 46.596 | 82.038 | 36.332 | 53.838 | 31.746 | 33.816 | 29.944 | 32.852 | 28.452 | 10.146 | 5.406
TruCount A3 [98.04 cells/mL) | 313.5 | 99.418 | 71.938 | 156.492 | 46.168 | 37.094 | 34.872 | 38.916 | 34.124 | 40.22 | 37.104 | 41.85 | 43.728 | 49.864 | 59.418 | 52.374 | 57.572 | 44.35 | 59.828 | 43.656 | 59.994 | 45.38 | 80.04 | 35.498 | 52.498 | 30.612 | 32.488 | 28.998 | 31.666 | 27.374 | 9.472 | 4.99
TruCounts A4 [145.6 cells/mL] | 656.434 | 147.396 | 218.706 | 453.818 | 80.614 | 44.764 | 47.8 | 50.566 | 39.526 | 44.97 | 39.796 | 44.698 | 45.498 | 51.626 | 60.852 | 54.198 | 59.77 | 46.876 | 62.236 | 46.668 | 62.726 | 49.146 | 83.86 | 38.618 | 56.542 | 33.02 | 36.05 | 31.522 | 34.824 | 29.974 | 11.55 | 6.19
TruCounts B fASW blank | 23.75 | 33.666 | 27.418 | 30.756 | 25.73 | 31.364 | 30.282 | 34.8 | 32.2 | 39.558 | 37.044 | 41.996 | 45.194 | 51.022 | 61.694 | 54.916 | 60.234 | 47.164 | 62.132 | 46.47 | 62.41 | 48.176 | 82.7 | 37.17 | 54.048 | 31.378 | 33.13 | 29.294 | 31.55 | 27.306 | 8.876 | 4.648
TruCounts B2 [49.5 cells/mL] | 1313.57 | 206.472 | 353.474 | 505.634 | 180.614 | 55.324 | 68.504 | 51.54 | 51.38 | 47.672 | 47.386 | 48.166 | 51.25 | 55.706 | 65.994 | 59.718 | 65.576 | 54.212 | 69.734 | 55.934 | 70.752 | 59.85 | 96.718 | 48.626 | 66.256 | 41.742 | 43.256 | 39.18 | 40.69 | 36.554 | 16.12 | 9.366
TruCounts B3 [98.04 cells/mL] | 382.65 | 467.284 | 357.648 | 262.726 | 65.464 | 57.896 | 59.71 | 46.802 | 42.888 | 44.14 | 41.848 | 44.982 | 47.694 | 52.786 | 63.118 | 56.638 | 62.016 | 50.164 | 65.142 | 51.006 | 66.182 | 54.384 | 89.51 | 42.982 | 60.992 | 36.24 | 38.336 | 33.596 | 35.746 | 31.158 | 12.006 | 6.758
TruCounts B4 [145.6 cells/mL] | 645.74 | 43.792 | 54 | 136.706 | 66.082 | 35.014 | 35.836 | 39.84 | 35.096 | 40.626 | 38.104 | 42.232 | 45.012 | 51.378 | 61.396 | 55.466 | 60.732 | 48.046 | 63.512 | 49.808 | 64.602 | 52.794 | 87.18 | 41.668 | 58.806 | 34.83 | 36.076 | 31.328 | 33.326 | 28.75 | 9.808 | 5.23
TruCounts C fASW | 23.78 | 34.344 | 27.7 | 31.176 | 25.926 | 32.294 | 30.804 | 35.522 | 33.534 | 40.69 | 38.636 | 44.04 | 47.41 | 54.31 | 65.508 | 59.842 | 65.564 | 54.244 | 69.36 | 56.256 | 71.096 | 59.912 | 94.586 | 46.206 | 62.778 | 37.682 | 38.632 | 33.532 | 35.374 | 30.44 | 11.33 | 6.112
TruCounts C2 [49.5 cells/mL] | 872.986 | 226.498 | 234.884 | 383.952 | 85.68 | 48.212 | 47.582 | 48.424 | 39.83 | 45.404 | 41.18 | 46.862 | 48.934 | 56.504 | 67.29 | 62.59 | 68.498 | 59.24 | 74.056 | 64.306 | 77.354 | 72.084 | 107.836 | 58.172 | 75.984 | 47.356 | 47.222 | 39.736 | 40.964 | 34.948 | 14.552 | 8.02
TruCounts C3 [98.04 cells/mL] | 1078.082 | 696.338 | 543.166 | 330.172 | 103.912 | 90.764 | 82.352 | 53.928 | 46.976 | 46.28 | 43.392 | 47.422 | 50.466 | 57.366 | 68.694 | 64 | 70.24 | 61.596 | 77.09 | 68.368 | 82.344 | 78.316 | 117.08 | 64.288 | 83.766 | 51.578 | 51.216 | 41.988 | 42.568 | 35.744 | 15.36 | 8.736
TruCounts C4 [145.6 cells/mL] | 806.7647 | 1405.9608 | 806.7647 | 523.902 | 93.0392 | 126.2745 | 81.098 | 59.8824 | 48.7255 | 48.3529 | 45.6667 | 48.7647 | 52.0196 | 58.2745 | 70.5098 | 65.3333 | 72.8039 | 63.6471 | 80.5882 | 71.8627 | 87.4118 | 83.7647 | 125.9804 | 69.7451 | 91.0196 | 56.2941 | 55.2745 | 45.1569 | 44.4118 | 37.6275 | 16.2941 | 9.8627

## Slide 13
Chart: TruCount Particle Size Distribution with Median Spherical Particle Size
| 230 | 195 | 165 | 140 | 119 | 101 | 85.2 | 72.2 | 61.2 | 51.9 | 43.9 | 37.200000000000003 | 31.6 | 26.7 | 22.7 | 19.2 | 16.3 | 13.8 | 11.7 | 9.9 | 8.39 | 7.11 | 6.03 | 5.1100000000000003 | 4.33 | 3.67 | 3.11 | 2.63 | 2.23 | 1.89 | 1.6 | 1.36
TruCountA | 28.286 | 40.922 | 33.938 | 37.592 | 30.828 | 37.8 | 36.658 | 40.814 | 38.36 | 44.812 | 42.486 | 46.98 | 50.752 | 55.704 | 68.792 | 60.198 | 66.536 | 52.904 | 70.278 | 54.104 | 73.498 | 58.288 | 99.314 | 46.306 | 67.592 | 39.58 | 42.594 | 36.116 | 38.772 | 32.924 | 12.644 | 6.436
TruCountB | 28.712 | 43.828 | 34.34 | 36.306 | 29.856 | 42.45 | 37.13 | 39.512 | 38.682 | 43.742 | 42.556 | 45.728 | 50.652 | 54.236 | 68.362 | 58.224 | 66.356 | 51.202 | 70.196 | 52.886 | 73.214 | 57.004 | 98.788 | 45.694 | 65.246 | 39.36 | 41.072 | 35.966 | 37.786 | 32.9 | 12.172 | 6.466
TruCountC | 28.534 | 43.77 | 34.19 | 35.964 | 30.238 | 40.314 | 36.94 | 38.926 | 38.348 | 43.292 | 41.972 | 44.962 | 49.906 | 53.656 | 66.484 | 57.91 | 65.356 | 51.226 | 69.558 | 53.242 | 73.176 | 57.996 | 99.126 | 46.522 | 66.7 | 39.852 | 41.842 | 36.048 | 37.92 | 32.83 | 12.364 | 6.652
Notes: 7 Aug TruCount test: 50 uL of TC solution into 500 uL of PBS. Each test run in new fASW. Accuri data for counts on next slide

## Slide 14
Chart: TruCount Particle Size Distribution - High Concentration
| 16.3 | 13.8 | 11.7 | 9.9 | 8.39 | 7.11 | 6.03 | 5.1100000000000003 | 4.33 | 3.67 | 3.11 | 2.63 | 2.23 | 1.89 | 1.6 | 1.36
TruCounts C fASW | 65.564 | 54.244 | 69.36 | 56.256 | 71.096 | 59.912 | 94.586 | 46.206 | 62.778 | 37.682 | 38.632 | 33.532 | 35.374 | 30.44 | 11.33 | 6.112
TruCounts C2 [49.5 cells/mL] | 68.498 | 59.24 | 74.056 | 64.306 | 77.354 | 72.084 | 107.836 | 58.172 | 75.984 | 47.356 | 47.222 | 39.736 | 40.964 | 34.948 | 14.552 | 8.02
TruCounts C3 [98.04 cells/mL] | 70.24 | 61.596 | 77.09 | 68.368 | 82.344 | 78.316 | 117.08 | 64.288 | 83.766 | 51.578 | 51.216 | 41.988 | 42.568 | 35.744 | 15.36 | 8.736
TruCounts C4 [145.6 cells/mL] | 72.8039 | 63.6471 | 80.5882 | 71.8627 | 87.4118 | 83.7647 | 125.9804 | 69.7451 | 91.0196 | 56.2941 | 55.2745 | 45.1569 | 44.4118 | 37.6275 | 16.2941 | 9.8627
TruCounts C5 | 70.302 | 61.08 | 77.616 | 68.366 | 84.128 | 79.426 | 121.462 | 66.136 | 87.234 | 52.816 | 51.688 | 41.092 | 41.034 | 33.992 | 13.544 | 7.932
TruCounts C6 | 70.33 | 62.308 | 77.726 | 70.564 | 85.324 | 83.128 | 124.176 | 69.484 | 90.49 | 55.426 | 53.62 | 42.188 | 41.156 | 34.054 | 13.096 | 8.098
Notes: TruCounts in fASW

## Slide 15: Data
Chart: Micromonas Particle Size Distribution with Median Randomly Shaped Particle Size
| 184 | 156 | 132 | 112 | 94.9 | 80.5 | 68.2 | 57.8 | 49 | 41.5 | 35.200000000000003 | 29.8 | 25.2 | 21.4 | 18.100000000000001 | 15.4 | 13 | 11 | 9.35 | 7.92 | 6.71 | 5.69 | 4.82 | 4.09 | 3.46 | 2.93 | 2.4900000000000002 | 2.11 | 1.79 | 1.51 | 1.28 | 1.0900000000000001
[19.6 mL/L] | 29.124 | 38.514 | 31.212 | 37.862 | 31.7 | 34.484 | 32.558 | 40.736 | 34.354 | 44.522 | 38.256 | 45.886 | 46.162 | 54.16 | 62.71 | 58.936 | 62.136 | 53.154 | 68.214 | 57.788 | 76.548 | 69.94 | 119.078 | 66.058 | 102.152 | 69.694 | 84.174 | 76.594 | 85.158 | 76.04 | 46.022 | 23.834
[39.2 mL/L] | 34.154 | 42.002 | 34.024 | 37.784 | 30.23 | 36.388 | 34.628 | 40.294 | 36.12 | 45.086 | 40.546 | 47.324 | 49.21 | 56.364 | 67.728 | 63.126 | 69.524 | 60.942 | 79.796 | 72.742 | 96.154 | 98.004 | 162.992 | 103.014 | 156.716 | 115.434 | 142.414 | 131.09 | 145.822 | 131.308 | 88.434 | 45.766

## Slide 16: Data
Chart: Micromonas Particle Size Distribution with Median Randomly Shaped Particle Size
| 184 | 156 | 132 | 112 | 94.9 | 80.5 | 68.2 | 57.8 | 49 | 41.5 | 35.200000000000003 | 29.8 | 25.2 | 21.4 | 18.100000000000001 | 15.4 | 13 | 11 | 9.35 | 7.92 | 6.71 | 5.69 | 4.82 | 4.09 | 3.46 | 2.93 | 2.4900000000000002 | 2.11 | 1.79 | 1.51 | 1.28 | 1.0900000000000001
[19.6 mL/L] | 29.124 | 38.514 | 31.212 | 37.862 | 31.7 | 34.484 | 32.558 | 40.736 | 34.354 | 44.522 | 38.256 | 45.886 | 46.162 | 54.16 | 62.71 | 58.936 | 62.136 | 53.154 | 68.214 | 57.788 | 76.548 | 69.94 | 119.078 | 66.058 | 102.152 | 69.694 | 84.174 | 76.594 | 85.158 | 76.04 | 46.022 | 23.834
[39.2 mL/L] | 34.154 | 42.002 | 34.024 | 37.784 | 30.23 | 36.388 | 34.628 | 40.294 | 36.12 | 45.086 | 40.546 | 47.324 | 49.21 | 56.364 | 67.728 | 63.126 | 69.524 | 60.942 | 79.796 | 72.742 | 96.154 | 98.004 | 162.992 | 103.014 | 156.716 | 115.434 | 142.414 | 131.09 | 145.822 | 131.308 | 88.434 | 45.766

## Slide 17
Chart: H. Akashiwo Particle Size Distribution with Ring No.
NEPCC.11 Test 1 [19.6 mL/L] | 49.75 | 66.722 | 64.456 | 70.7 | 59.74 | 78.598 | 80.516 | 83.108 | 97.952 | 107.108 | 128.334 | 146.966 | 184.866 | 214.052 | 262.708 | 288.27 | 291.33 | 289.516 | 254.774 | 215.318 | 157.678 | 128.192 | 194.182 | 123.522 | 141.948 | 85.452 | 85.636 | 71.596 | 68.434 | 57.45 | 30.554 | 16.908
NEPCC.11 Test 2 [39.6 mL/L] | 45.84 | 70.56 | 69.64 | 68.84 | 63.98 | 98.5 | 104.42 | 102.58 | 138.62 | 149.28 | 196.9 | 226.84 | 302.7 | 352.44 | 437.28 | 496.56 | 497.12 | 503.96 | 421.38 | 361.68 | 236.86 | 194.42 | 294.1 | 197.14 | 212.72 | 127.18 | 127.96 | 103.46 | 97.1 | 79.84 | 46.64 | 24.36

## Slide 18
Chart: H. Akashiwo Particle Size Distribution with Median Spherical Particle Size
| 230 | 195 | 165 | 140 | 119 | 101 | 85.2 | 72.2 | 61.2 | 51.9 | 43.9 | 37.200000000000003 | 31.6 | 26.7 | 22.7 | 19.2 | 16.3 | 13.8 | 11.7 | 9.9 | 8.39 | 7.11 | 6.03 | 5.1100000000000003 | 4.33 | 3.67 | 3.11 | 2.63 | 2.23 | 1.89 | 1.6 | 1.36
NEPCC.11 Test 1 [19.6 mL/L] | 49.75 | 66.722 | 64.456 | 70.7 | 59.74 | 78.598 | 80.516 | 83.108 | 97.952 | 107.108 | 128.334 | 146.966 | 184.866 | 214.052 | 262.708 | 288.27 | 291.33 | 289.516 | 254.774 | 215.318 | 157.678 | 128.192 | 194.182 | 123.522 | 141.948 | 85.452 | 85.636 | 71.596 | 68.434 | 57.45 | 30.554 | 16.908
NEPCC.11 Test 2 [39.2 mL/L] | 45.84 | 70.56 | 69.64 | 68.84 | 63.98 | 98.5 | 104.42 | 102.58 | 138.62 | 149.28 | 196.9 | 226.84 | 302.7 | 352.44 | 437.28 | 496.56 | 497.12 | 503.96 | 421.38 | 361.68 | 236.86 | 194.42 | 294.1 | 197.14 | 212.72 | 127.18 | 127.96 | 103.46 | 97.1 | 79.84 | 46.64 | 24.36
Notes: 227400 cells/mL

## Slide 19: Accuri Data for TruCounts
Plot 1 | (FSC-A/SSC-A) | 
All |  | 
Count | Volume (µL) | Events / µL
49 | 10 | 5
190 | 10 | 19
680 | 10 | 68
Notes: 6 Aug data for samples run on LISST-100 in 7 Aug

## Slide 20: Discussion
Organism ID & instrument resolution
What sensors should we put on the vehicle?

## Slide 21: Conclusion
Defined methods for laboratory sensor calibration relating fluorescence, particle size distributions, and cell concentration for organisms from 1-250 um

## Slide 22: What’s Next
Test other organisms, including HAB species – Pseudonitzschia australis?
Applications in organism signature ID
  Develop an algorithm to ID organisms within in situ datasets…what steps to take

## Slide 23: Acknowledgements
Jim Bellingham
George Matsumoto
Erika McPhee-Shaw
Sebastian Sudek
Thomas Hoover
Denis Klimov
John Ryan
Brian Kieft
Linda Kuhnz
2013 Summer Interns