## Slide 1
dpFOCE
Closed loop pH control in the ocean
began as Beyond Climate
for a deep sea cabled observatory
FACE
Experiments
First published
June 2006

## Slide 2: Supporting Work
Examples of Brewer et. al. lab work in CO2 studies since 1996
CO2 Sequestration
CO2 Sequestration and habitat
CO2 Instrumentation
CO2 Equilibrium
CO2 Clahrates
CO2 Mixing
dpFOCE

## Slide 3: Zeebe & Wolf-Gladrow Model (2001)
Linear differential equation:
d
(
C
O
)
d
2
d
t
=
-
d
C
O
2
1
t
F Appendix C.7:
C
O
+
H
O
2
2
k
+
1
k
-
1
H
C
O
+
H
3
+
-
C
O
+
O
H
2
k
+
4
k
-
4
H
C
O
3
-
-
Note: reaction kinetics are a function of both CO2 and pH.
While, the effect of pressure on the equilibrium constants can be calculated (see Z&W-G appendix A.11), the effect on the reaction kinetics is largely unknown.
e-Folding time
dpFOCE

## Slide 4: FOCE Prototype: Controls Concept
pH
Time
Ambient seawater pH
Step function input of desired value
Heavily damped system to set pt.
Desired
performance
pH 1
pH 2
pH 3
6<pH<8
Ave pH
Automated quality check or manual over-ride to exclude pH probe(s)
Manual over-ride to set total pump rate
Boxcar Filter
dpFOCE
Current Velocity
Data
Notes: Now for some more detail on the control program.
The 3 pH probes log data every second. To remove noise from the data we applied a box-car filter, that averages the 30 most recent measurements. The smoothed pH values are then passed through a quality filter & average, where if any probe records a pH less than 6 or greater than 8 it is excluded.
In simple terms, the difference between the measured average pH, and the set-point target, then controls the ratio of acid to water.
The current speed input controls the total volume pumped.
The control algorithm used yields a heavily damped, but exponentially responsive system. This was to provide for quick adjustments in current, while minimising bounce under constant current regimes.
As a fail-safe, and because prior to our first trials we quite simply didn’t know how the system would respond, we also had manual over-ride on both control parameters.

## Slide 5: Initial Lessons Learned
No Show Stoppers
Functions well @ 10-20 cm/s, but does not cope well with low/no flow
Large spikes on lower pH probe due to pooling of dense acid
Current velocity measured from ROV does not match bottom currents
Disequilibrium between added acid & seawater
 all systems go for July field trial
 optimize test time by choosing location with higher currents
 density match acid to seawater (reduce acid strength)
 add current meter to FOCE frame
 quantify extent of this problem using recirculation pH loop
dpFOCE
After finding solutions we began deep FOCE
Notes: So the only changes made to the system for the second field trials were to incorporate a current meter into the FOCE frame, and to density match the HCl strength to ambient seawater. We also changed study site, to a 500m depth location with stronger currents.
The average current speeds we experienced in the second field trials were on the order of 25-30 cm/sec. Under this ‘fast’ flow regime, we were unable to achieve our target pH set-points – where this relates to the last point on the list above – to quantify the extent of disequilibrium between the added acid and seawater – and it is these experiments I will take you through now.

## Slide 6
The path to FOCE for MARS
A series of small scale experiments
and developments took place…
dpFOCE
Smallest In Situ FOCE to date
Approx. 8”x 8”x 8”
Control Volume

## Slide 7
dpFOCE
Deployed for long term testing – 10 months
CO2 chemistry experiments
Proved out long term in situ ops and digital pH probes
pH Mean (error) = 0.00067 0.00095
+
-

## Slide 8
Time lapse video used to observe urchin motions and feeding behaviors in elevated CO2 compared with a control section located 20 meters away
First long duration deep biology experiments just completed
– 10/23/2011 using sea urchins
dpFOCE